## Infra added 4th CP
TRANSMISSION CORPOPRATION OF TELANGANA LIMITED
Annexure IV : Details of Physical Network added during 4th control period
S. No. | Particulars |  | 4th Control Period
|  | FY 2018-19 | FY 2019-20 |  |  |  | FY 2020-21 |  |  |  | FY 2021-22 |  |  |  | FY 2022-23 |  |  |  | FY 2023-24 |  |  |  | Totals for 4th CP : FY 2019-24
|  | Closing | Opening | Addition | Addition under LIS | Closing | Opening | Addition | Addition under LIS | Closing | Opening | Addition | Addition under LIS | Closing | Opening | Addition | Addition under LIS | Closing | Opening | Addition | Addition under LIS | Closing | Opening | Addition | Addition under LIS | Closing
A | Sub-stations
1 | 400 kV | 17 | 17 | 1 | 3 | 21 | 21 | 0 | 0 | 21 | 21 | 1 | 1 | 23 | 23 | 2 | 0 | 25 | 25 | 0 | 3 | 28 | 17 | 4 | 7 | 28
2 | 220 kV | 81 | 81 | 5 | 3 | 89 | 89 | 3 | 3 | 95 | 95 | 1 | 2 | 98 | 98 | 2 | 1 | 101 | 101 | 0 | 3 | 104 | 81 | 11 | 12 | 104
3 | 132 kV | 234 | 234 | 3 | 1 | 238 | 238 | 0 | 2 | 240 | 240 | 5 | 2 | 247 | 247 | 3 | 0 | 250 | 250 | 3 | 0 | 253 | 234 | 14 | 5 | 253
| Total Sub-stations (Nos.) | 332 | 332 | 9 | 7 | 348 | 348 | 3 | 5 | 356 | 356 | 7 | 5 | 368 | 368 | 7 | 1 | 376 | 376 | 3 | 6 | 385 | 332 | 29 | 24 | 385
B | Transmissioin Lines
1 | 400 kV
| Lines (Nos) | 82 | 82 | 6 | 5 | 93 | 93 | 7 |  | 100 | 100 | 8 |  | 108 | 108 | 4 |  | 112 | 112 | 2 |  | 114 | 82 | 27 | 47 | 114
| Line Length (CKM) | 5334 | 5334 | 491 | 397.6 | 6222.6 | 6222.6 | 126 |  | 6348.6 | 6348.6 | 620 |  | 6968.6 | 6968.6 | 44 |  | 7012.6 | 7012.6 | 208 |  | 7220.6 | 5334 | 1489 | 1054 | 7221
2 | 220 kV
| Lines (Nos) | 229 | 229 | 26 | 3 | 258 | 258 | 8 | 3 | 269 | 269 | 7 | 2 | 278 | 278 | 11 | 1 | 290 | 290 | 3 | 2 | 295 | 229 | 55 | 88 | 295
| Line Length (CKM) | 8316.12 | 8316.12 | 587 | 87.02 | 8990.14 | 8990.14 | 255 | 88.948 | 9334.088 | 9334.088 | 288 | 73.397 | 9695.485 | 9695.485 | 241 | 18 | 9954.485 | 9954.485 | 143 | 19.4 | 10116.885 | 8316.12 | 1513 | 926 | 10116
3 | 132 kV
| Lines (Nos) | 580 | 580 | 20 | 4 | 604 | 604 | 6 | 1 | 611 | 611 | 11 | 1 | 623 | 623 | 27 |  | 650 | 650 | 8 | 1 | 659 | 580 | 72 | 109 | 659
| Line Length (CKM) | 11576.61 | 11576.61 | 397 | 111.415 | 12085.025 | 12085.025 | 73 | 18.007 | 12176.032 | 12176.032 | 245 | 0.16 | 12421.192 | 12421.192 | 171 |  | 12592.192 | 12592.192 | 171 | 8 | 12771.192 | 11576.61 | 1057 | 552 | 12771
| Total Lines Nos. | 891 | 891 | 52 | 12 | 955 | 955 | 21 | 4 | 980 | 980 | 26 | 3 | 1009 | 1009 | 42 | 1 | 1052 | 1052 | 13 | 3 | 1068 | 891 | 154 | 244 | 1068
| Total Length (CKM) | 25226.73 | 25226.73 | 1475 | 596.035 | 27297.765 | 27297.765 | 454 | 106.955 | 27858.72 | 27858.72 | 1153 | 73.557 | 29085.277 | 29085.277 | 456 | 18 | 29559.277 | 29559.277 | 522 | 27.4 | 30108.677 | 25226.73 | 4059 | 2532 | 30108
C | Power Transformers
1 | 400 kV
| PTRs Nos. | 48 | 48 | 6 | 33 | 87 | 87 | 1 | 1 | 89 | 89 | 4 | 0 | 93 | 93 | 3 | 0 | 96 | 96 | 3 | 7 | 106 | 48 | 17 | 41 | 106
| Transformation Capacity (MVA) | 14390 | 14390 | 2815 | 3540 | 20745 | 20745 | 315 | 50 | 21110 | 21110 | 1630 | 0 | 22740 | 22740 | 1870 | 0 | 24610 | 24610 | 1685 | 735 | 27030 | 14390 | 8315 | 4325 | 27030
2 | 220 kV
| PTRs Nos. | 194 | 194 | 10 | 32 | 236 | 236 | 9 | 33 | 278 | 278 | 3 | 4 | 285 | 285 | 2 | 3 | 290 | 290 | 5 | 5 | 300 | 194 | 29 | 77 | 300
| Transformation Capacity (MVA) | 21643.5 | 21643.5 | 1051.5 | 1718.5 | 24413.5 | 24413.5 | 861.5 | 1394 | 26669 | 26669 | 520 | 95 | 27284 | 27284 | 350 | 120 | 27754 | 27754 | 800 | 170 | 28724 | 21643.5 | 3583 | 3497.5 | 28724
3 | 132 kV
| PTRs Nos. | 591 | 591 | 20 | 2 | 613 | 613 | 6 | 3 | 622 | 622 | 15 | 7 | 644 | 644 | 12 | 0 | 656 | 656 | 12 | 0 | 668 | 591 | 65 | 12 | 668
| Transformation Capacity (MVA) | 25214.5 | 25214.5 | 438.5 | 63 | 25716 | 25716 | 239.5 | 79 | 26034.5 | 26034.5 | 786 | 282 | 27102.5 | 27102.5 | 746 | 0 | 27848.5 | 27848.5 | 971.5 | 0 | 28820 | 25214.5 | 3181.5 | 424 | 28820
| Total PTR Nos. | 833 | 833 | 36 | 67 | 936 | 936 | 16 | 37 | 989 | 989 | 22 | 11 | 1022 | 1022 | 17 | 3 | 1042 | 1042 | 20 | 12 | 1074 | 833 | 111 | 130 | 1074
| Total PTR Capacity (MVA) | 61248 | 61248 | 4305 | 5321.5 | 70874.5 | 70874.5 | 1416 | 1523 | 73813.5 | 73813.5 | 2936 | 377 | 77126.5 | 77126.5 | 2966 | 120 | 80212.5 | 80212.5 | 3456.5 | 905 | 84574 | 61248 | 15079.5 | 8246.5 | 84574
D | Bays
1 | 400 kV | 217 | 217 | 46 | 29 | 292 | 292 | 27 | 12 | 331 | 331 | 11 | 7 | 349 | 349 | 3 | 3 | 355 | 355 | 12 | 27 | 394 | 217 | 99 | 78 | 394
2 | 220 kV | 685 | 685 | 44 | 25 | 754 | 754 | 43 | 28 | 825 | 825 | 25 | 15 | 865 | 865 | 14 | 3 | 882 | 882 | 11 | 13 | 906 | 685 | 137 | 84 | 906
3 | 132 kV | 1785 | 1785 | 73 | 6 | 1864 | 1864 | 21 | 4 | 1889 | 1889 | 66 | 0 | 1955 | 1955 | 35 | 6 | 1996 | 1996 | 36 | 0 | 2032 | 1785 | 231 | 16 | 2032
| Total Bays (Nos.) | 2687 | 2687 | 163 | 60 | 2910 | 2910 | 91 | 44 | 3045 | 3045 | 102 | 22 | 3169 | 3169 | 52 | 12 | 3233 | 3233 | 59 | 40 | 3332 | 2687 | 467 | 178 | 3332
Note : PTRs in new sub-stations as well as those added in Augmentations need to be given. Also, if any PTRs are removed from Service

## Sheet1 (hidden)
No. of PTRs,Transformation Capacity as on 31.03.2019(TSTRANSCO,LI & WW) | [5 empty] | No. of PTRs,Transformation Capacity as on 31.03.2020(TSTRANSCO,LI & WW) | [6 empty] | No. of PTRs,Transformation Capacity as on 31.03.2021(TSTRANSCO,LI & WW) | [6 empty] | No. of PTRs,Transformation Capacity as on 31.03.2022(TSTRANSCO,LI & WW) | [6 empty] | No. of PTRs,Transformation Capacity as on 31.03.2023(TSTRANSCO,LI & WW) | [6 empty] | No. of PTRs,Transformation Capacity as on 31.03.2024(TSTRANSCO,LI & WW)
Sl. No. | Voltage Level |  | No. of PTRs | MVA | MVA | Sl. No. | Voltage Level |  | No. of PTRs | MVA |  | MVA | Sl. No. | Voltage Level |  | No. of PTRs | MVA |  |  | Sl. No. | Voltage Level |  | No. of PTRs | MVA |  |  | Sl. No. | Voltage Level |  | No. of PTRs | MVA |  |  | Sl. No. | Voltage Level |  | No. of PTRs | MVA
|  | PTR rating in MVA | TRANSCO | TRANSCO |  |  |  | PTR rating in MVA | TRANSCO | TRANSCO |  |  |  |  | PTR rating in MVA | TRANSCO | TRANSCO |  |  |  |  | PTR rating in MVA | TRANSCO | TRANSCO |  |  |  |  | PTR rating in MVA | TRANSCO | TRANSCO |  |  |  |  | PTR rating in MVA | TRANSCO | TRANSCO
1 | 400 /220 | 500 | 4 | 2000 |  | 1 | 400 /220 | 500 | 9 | 4500 | 0 | 0 | 1 | 400 /220 | 500 | 9 | 4500 | 2 | 1000 | 1 | 400 /220 | 500 | 11 | 5500 | 5 | 2500 | 1 | 400 /220 | 500 | 16 | 8000 | 4 | 2000 | 1 | 400 /220 | 500 | 20 | 10000
|  | 315 | 38 | 11970 |  |  |  | 315 | 39 | 12285 | 1 | 315 |  |  | 315 | 40 | 12600 | 2 | 630 |  |  | 315 | 42 | 13230 | -2 | -630 |  |  | 315 | 40 | 12600 | -1 | -315 |  |  | 315 | 39 | 12285
Sub-Total (1) |  |  | 42 | 13970 | 2815 | Sub-Total (1) |  |  | 48 | 16785 | 1 | 315 | Sub-Total (1) |  |  | 49 | 17100 | 4 | 1630 | Sub-Total (1) |  |  | 53 | 18730 | 3 | 1870 | Sub-Total (1) |  |  | 56 | 20600 | 3 | 1685 | Sub-Total (1) |  |  | 59 | 22285
1' | 400/11 | 25 | 4 | 100 |  | 1' | 400/13.8 | 160 | 7 | 1120 | 0 | 0 | 1' | 400/13.8 | 160 | 7 | 1120 | 0 | 0 | 1' | 400/13.8 | 160 | 7 | 1120 | 0 | 0 | 1' | 400/13.8 | 160 | 7 | 1120 | 0 | 0 | 1' | 400/13.8 | 160 | 7 | 1120
|  | 160 | 2 | 320 |  | 1'' | 400/11 | 25 | 10 | 250 | 0 | 0 | 1'' | 400/11 | 25 | 10 | 250 | 0 | 0 | 1'' | 400/11 | 25 | 10 | 250 | 0 | 0 | 1'' | 400/11 | 25 | 10 | 250 | 3 | 75 | 1'' | 400/11 | 25 | 13 | 325
Sub-Total (1') |  |  | 6 | 420 | 3540 |  |  | 50 | 7 | 350 | 1 | 50 |  |  | 50 | 8 | 400 | 0 | 0 |  |  | 50 | 8 | 400 | 0 | 0 |  |  | 50 | 8 | 400 | 0 | 0 |  |  | 50 | 8 | 400
2 | 220/132 | 160 | 72 | 11520 |  |  |  | 120 | 4 | 480 | 0 | 0 |  |  | 120 | 4 | 480 | 0 | 0 |  |  | 120 | 4 | 480 | 0 | 0 |  |  | 120 | 4 | 480 | 0 | 0 |  |  | 120 | 4 | 480
|  | 100 | 85 | 8500 | 1051.5 |  |  | 160 | 11 | 1760 | 0 | 0 |  |  | 160 | 11 | 1760 | 0 | 0 |  |  | 160 | 11 | 1760 | 0 | 0 |  |  | 160 | 11 | 1760 | -7 | -1100 |  |  | 165 | 4 | 660
Sub-Total (2) |  |  | 157 | 20020 | [6 empty] | 0 | 0 | [5 empty] | 0 | 0 | [5 empty] | 0 | 0 | [5 empty] | 11 | 1760 |  |  | 160 | 11 | 1760
3 | 33/132 | 16 | 1 | 16 |  | Sub-Total (1') |  |  | 32 | 2840 | 1 | 50 | Sub-Total (1') |  |  | 33 | 2890 | 0 | 0 | Sub-Total (1') |  |  | 33 | 2890 | 0 | 0 | Sub-Total (1') |  |  | 33 | 2890 | 7 | 735 | Sub-Total (1') |  |  | 40 | 3625
Sub-Total (3) |  |  | 1 | 16 |  | 2 | 220/132 | 160 | 74 | 11840 | 3 | 480 | 2 | 220/132 | 160 | 77 | 12320 | 2 | 320 | 2 | 220/132 | 160 | 79 | 12640 | 2 | 320 | 2 | 220/132 | 160 | 81 | 12960 | 5 | 800 | 2 | 220/132 | 160 | 86 | 13760
4 | 220 /33 | 50 | 2 | 100 |  |  |  | 100 | 92 | 9200 | 2 | 200 |  |  | 100 | 94 | 9400 | 1 | 100 |  |  | 100 | 95 | 9500 | 0 | 0 |  |  | 100 | 95 | 9500 | 0 | 0 |  |  | 100 | 95 | 9500
|  | 31.5 | 5 | 157.5 |  | Sub-Total (2) |  |  | 166 | 21040 | 5 | 680 | Sub-Total (2) |  |  | 171 | 21720 | 3 | 420 | Sub-Total (2) |  |  | 174 | 22140 | 2 | 320 | Sub-Total (2) |  |  | 176 | 22460 | 5 | 800 | Sub-Total (2) |  |  | 181 | 23260
|  | 20 | 2 | 40 |  | 3 | 33/132 | 16 | 1 | 16 | 0 | 0 | 3 | 33/132 | 16 | 1 | 16 | 0 | 0 | 3 | 33/132 | 16 | 1 | 16 | 0 | 0 | 3 | 33/132 | 16 | 1 | 16 | 0 | 0 | 3 | 33/132 | 16 | 1 | 16
Sub-Total (4) |  |  | 9 | 297.5 |  | Sub-Total (3) |  |  | 1 | 16 | 0 | 0 | Sub-Total (3) |  |  | 1 | 16 | 0 | 0 | Sub-Total (3) |  |  | 1 | 16 | 0 | 0 | Sub-Total (3) |  |  | 1 | 16 | 0 | 0 | Sub-Total (3) |  |  | 1 | 16
5 | 220/11 | 50 | 24 | 1200 |  | 4 | 220 /33 | 50 | 2 | 100 | 3 | 150 | 4 | 220 /33 | 50 | 5 | 250 | -3 | -50 | 4 | 220 /33 | 100 | 2 | 200 | 0 | 0 | 4 | 220 /33 | 100 | 2 | 200 | 0 | 0 | 4 | 220 /33 | 100 | 2 | 200
|  | 35 | 0 | 0 |  |  |  | 31.5 | 6 | 189 | 1 | 31.5 |  |  | 31.5 | 7 | 220.5 | -4 | -70.5 |  |  | 50 | 3 | 150 | 1 | 50 |  |  | 50 | 4 | 200 | 0 | 0 |  |  | 50 | 4 | 200
|  | 31.5 | 4 | 126 | [6 empty] | 0 | 0 | [5 empty] | 7 | 220.5 |  |  | 31.5 | 7 | 220.5 | 0 | 0 |  |  | 31.5 | 7 | 220.5 | 0 | 0 |  |  | 31.5 | 7 | 220.5
|  | 25 | 0 | 0 |  |  |  | 20 | 2 | 40 | 0 | 0 |  |  | 20 | 2 | 40 | 0 | 0 |  |  | 20 | 2 | 40 | -1 | -20 |  |  | 20 | 1 | 20 | 0 | 0 |  |  | 20 | 1 | 20
|  | 20 | 0 | 0 |  | Sub-Total (4) |  |  | 10 | 329 | 4 | 181.5 | Sub-Total (4) |  |  | 14 | 510.5 | 0 | 100 | Sub-Total (4) |  |  | 14 | 610.5 | 0 | 30 | Sub-Total (4) |  |  | 14 | 640.5 | 0 | 0 | Sub-Total (4) |  |  | 14 | 640.5
|  | 12.5 | 0 | 0 | 1718.5 | 5 | 220/11 | 80 | 2 | 160 | 0 | 0 | 5 | 220/11 | 80 | 2 | 160 | 0 | 0 | 5 | 220/11 | 80 | 2 | 160 | 0 | 0 | 5 | 220/11 | 80 | 2 | 160 | 0 | 0 | 5 | 220/11 | 80 | 2 | 160
Sub-Total (5) |  |  | 28 | 1326 | 32 |  |  | 60 | 4 | 240 | 2 | 120 |  |  | 60 | 6 | 360 | 0 | 0 |  |  | 60 | 6 | 360 | 0 | 0 |  |  | 60 | 6 | 360 | 0 | 0 |  |  | 60 | 6 | 360
6 | 220/ 6.6 | 31.5 | 0 | 0 |  |  |  | 50 | 51 | 2550 | 15 | 750 |  |  | 50 | 66 | 3300 | 0 | 0 |  |  | 50 | 66 | 3300 | 0 | 0 |  |  | 50 | 66 | 3300 | 0 | 0 |  |  | 50 | 66 | 3300
|  | 25 | 0 | 0 |  |  |  | 35 | 0 | 0 | 6 | 240 |  |  | 40 | 6 | 240 | 0 | 0 |  |  | 40 | 6 | 240 | 3 | 120 |  |  | 40 | 9 | 360 | 3 | 120 |  |  | 40 | 12 | 480
Sub-Total (6) |  |  | 0 | 0 |  |  |  | 31.5 | 3 | 94.5 | -3 | -94.5 |  |  | 35 | 0 | 0 | 0 | 0 |  |  | 35 | 0 | 0 | 0 | 0 |  |  | 35 | 0 | 0 | 0 | 0 |  |  | 35 | 0 | 0
7 | 132/ 66 | 40 | 1 | 40 |  |  |  | 25 | 0 | 0 | 11 | 346.5 |  |  | 31.5 | 11 | 346.5 | 2 | 63 |  |  | 31.5 | 13 | 409.5 | 0 | 0 |  |  | 31.5 | 13 | 409.5 | 0 | 0 |  |  | 31.5 | 13 | 409.5
Sub-Total (7) |  |  | 1 | 40 | 20 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 2 | 50 |  |  | 25 | 2 | 50
8 | 132/33 | 80 | 81 | 6480 |  |  |  | 12.5 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0
|  | 50 | 209 | 10450 | [6 empty] | 2 | 32 |  |  | 16 | 2 | 32 | 2 | 32 |  |  | 16 | 4 | 64 | 0 | 0 |  |  | 16 | 4 | 64 | 0 | 0 |  |  | 16 | 4 | 64
|  | 31.5 | 205 | 6457.5 | [6 empty] | 0 | 0 |  |  | 12.5 | 0 | 0 | 0 | 0 |  |  | 12.5 | 0 | 0 | 0 | 0 |  |  | 12.5 | 0 | 0 | 0 | 0 |  |  | 12.5 | 0 | 0
|  | 25 | 1 | 25 |  | Sub-Total (5) |  |  | 60 | 3044.5 | 33 | 1394 | Sub-Total (5) |  |  | 93 | 4438.5 | 4 | 95 | Sub-Total (5) |  |  | 97 | 4533.5 | 3 | 120 | Sub-Total (5) |  |  | 100 | 4653.5 | 5 | 170 | Sub-Total (5) |  |  | 105 | 4823.5
|  | 16 | 60 | 960 |  | 6 | 220/ 6.6 | 31.5 | 0 | 0 | 0 | 0 | 6 | 220/ 6.6 | 31.5 | 0 | 0 | 0 | 0 | 6 | 220/ 6.6 | 31.5 | 0 | 0 | 0 | 0 | 6 | 220/ 6.6 | 31.5 | 0 | 0 | 0 | 0 | 6 | 220/ 6.6 | 31.5 | 0 | 0
|  | 15 | 1 | 15 |  |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0 | 0 | 0 |  |  | 25 | 0 | 0
Sub-Total (8) |  |  | 557 | 24387.5 | 438.5 | Sub-Total (6) |  |  | 0 | 0 | 0 | 0 | Sub-Total (6) |  |  | 0 | 0 | 0 | 0 | Sub-Total (6) |  |  | 0 | 0 | 0 | 0 | Sub-Total (6) |  |  | 0 | 0 | 0 | 0 | Sub-Total (6) |  |  | 0 | 0
9 | 132/11 | 50 | 5 | 250 |  | 7 | 132/ 66 | 40 | 0 | 0 | 0 | 0 | 7 | 132/ 66 | 40 | 0 | 0 | 0 | 0 | 7 | 132/ 66 | 40 | 0 | 0 | 0 | 0 | 7 | 132/ 66 | 40 | 0 | 0 | 0 | 0 | 7 | 132/ 66 | 40 | 0 | 0
|  | 31.5 | 4 | 126 |  | Sub-Total (7) |  |  | 0 | 0 | 0 | 0 | Sub-Total (7) |  |  | 0 | 0 | 0 | 0 | Sub-Total (7) |  |  | 0 | 0 | 0 | 0 | Sub-Total (7) |  |  | 0 | 0 | 0 | 0 | Sub-Total (7) |  |  | 0 | 0
|  | 25 | 3 | 75 |  | 8 | 132/33 | 80 | 81 | 6480 | 2 | 160 | 8 | 132/33 | 80 | 83 | 6640 | 8 | 640 | 8 | 132/33 | 80 | 91 | 7280 | 7 | 560 | 8 | 132/33 | 80 | 98 | 7840 | 6 | 480 | 8 | 132/33 | 80 | 104 | 8320
|  | 20 | 0 | 0 |  |  |  | 50 | 210 | 10500 | 0 | 0 |  |  | 50 | 210 | 10500 | 1 | 50 |  |  | 50 | 211 | 10550 | 4 | 200 |  |  | 50 | 215 | 10750 | 13 | 650 |  |  | 50 | 228 | 11400
|  | 16 | 20 | 320 |  |  |  | 31.5 | 212 | 6678 | 1 | 31.5 |  |  | 31.5 | 213 | 6709.5 | 0 | 0 |  |  | 31.5 | 213 | 6709.5 | -2 | -63 |  |  | 31.5 | 211 | 6646.5 | -3 | -94.5 |  |  | 31.5 | 208 | 6552
|  | 15 | 0 | 0 | 2 |  |  | 25 | 1 | 25 | 0 | 0 |  |  | 25 | 1 | 25 | 0 | 0 |  |  | 25 | 1 | 25 | 0 | 0 |  |  | 25 | 1 | 25 | 0 | 0 |  |  | 25 | 1 | 25
Sub-Total (9) |  |  | 32 | 771 | 63 |  |  | 16 | 73 | 1168 | 3 | 48 |  |  | 16 | 76 | 1216 | 6 | 96 |  |  | 16 | 82 | 1312 | 4 | 64 |  |  | 16 | 86 | 1376 | -4 | -64 |  |  | 16 | 82 | 1312
Grand Total (1 to 9) |  |  | 833 | 61248 |  |  |  | 15 | 1 | 15 | 0 | 0 |  |  | 15 | 1 | 15 | 0 | 0 |  |  | 15 | 1 | 15 | -1 | -15 |  |  | 15 | 0 | 0 | 0 | 0 |  |  | 15 | 0 | 0
[6 empty] | Sub-Total (8) |  |  | 578 | 24866 | 6 | 239.5 | Sub-Total (8) |  |  | 584 | 25105.5 | 15 | 786 | Sub-Total (8) |  |  | 599 | 25891.5 | 12 | 746 | Sub-Total (8) |  |  | 611 | 26637.5 | 12 | 971.5 | Sub-Total (8) |  |  | 623 | 27609
[6 empty] | 9 | 132/11 | 50 | 5 | 250 | 0 | 0 | 9 | 132/11 | 50 | 5 | 250 | 5 | 250 | 9 | 132/11 | 50 | 10 | 500 | 0 | 0 | 9 | 132/11 | 50 | 10 | 500 | 0 | 0 | 9 | 132/11 | 50 | 10 | 500
[8 empty] | 31.5 | 6 | 189 | 2 | 63 |  |  | 31.5 | 8 | 252 | 0 | 0 |  |  | 31.5 | 8 | 252 | 0 | 0 |  |  | 31.5 | 8 | 252 | 0 | 0 |  |  | 31.5 | 8 | 252
[8 empty] | 25 | 3 | 75 | 0 | 0 |  |  | 25 | 3 | 75 | 0 | 0 |  |  | 25 | 3 | 75 | 0 | 0 |  |  | 25 | 3 | 75 | 0 | 0 |  |  | 25 | 3 | 75
[8 empty] | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0 | 0 | 0 |  |  | 20 | 0 | 0
[8 empty] | 16 | 20 | 320 | 1 | 16 |  |  | 16 | 21 | 336 | 2 | 32 |  |  | 16 | 23 | 368 | 0 | 0 |  |  | 16 | 23 | 368 | 0 | 0 |  |  | 16 | 23 | 368
[8 empty] | 15 | 0 | 0 | 0 | 0 |  |  | 15 | 0 | 0 | 0 | 0 |  |  | 15 | 0 | 0 | 0 | 0 |  |  | 15 | 0 | 0 | 0 | 0 |  |  | 15 | 0 | 0
[6 empty] | Sub-Total (9) |  |  | 34 | 834 | 3 | 79 | Sub-Total (9) |  |  | 37 | 913 | 7 | 282 | Sub-Total (9) |  |  | 44 | 1195 | 0 | 0 | Sub-Total (9) |  |  | 44 | 1195 | 0 | 0 | Sub-Total (9) |  |  | 44 | 1195
[6 empty] | Grand Total (1 to 9) |  |  | 936 | 70874.5 | 53 | 2939 | Grand Total (1 to 9) |  |  | 989 | 73813.5 | 33 | 3313 | Grand Total (1 to 9) |  |  | 1022 | 77126.5 | 20 | 3086 | Grand Total (1 to 9) |  |  | 1042 | 80212.5 | 32 | 4361.5 | Grand Total (1 to 9) |  |  | 1074 | 84574