## Checklist
<TGGENCO>
<BTPS>
Tariff Filing Formats - Generation
Checklist
S. No. | Form | Title | Tick
1 | Form 1 | Summary Sheet
2 | Form 2 | Operation and Maintenance Expenses
3 | Form 2.1 | Employee Expenses
4 | Form 2.2 | Administration & General Expenses
5 | Form 2.3 | Repair & Maintenance Expenses
6 | Form 3 | Summary of Capital Expenditure and Capitalisation
7 | Form 3.1 | Statement of Additional Capitalisation after COD
8 | Form 3.2 | Financing of Additional Capitalisation
9 | Form 4 | Fixed Assets & Depreciation
10 | Form 5 | Interest and finance charges on loan
11 | Form 6 | Interest on working capital
12 | Form 7 | Return on Equity
13 | Form 8 | Non-Tariff Income
14 | Form 9 | Planned & Forced Outages
15 | Form 10 | Operational parameters
16 | Form 11 | Fuel Details for computation of Energy Charge Rate
17 | Form 12 | Energy Charge Rate
18 | Form 13 | Sales
19 | Form 14 | Revenue from Sale of Electricity
20 | Form 15 | Revenue Reconciliation
21 | Form 16 | Summary of true-up

## F1
TGGENCO
BTPS
Form 1: Summary Sheet
S. No. | Particulars | Units | Reference | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27 |  | Remarks
|  |  |  | MYT/Tariff Order | April-March | True-Up requirement (Normative) | MYT/Tariff Order | April - March | MYT/Tariff Order | April - March
|  |  |  | Approved | Audited | Claimed | Approved | Revised Proposal | Approved | Revised Proposal
A | Annual Fixed Charges
1 | Operation & Maintenance Expenses | Rs. Crore | Form 2 | 189.59 | 451.38 | 451.38 | 200.86 | 475.73 | 212.3 | 496.8
2 | Depreciation | Rs. Crore | Form 4 | 274.31 | 247.18 | 247.18 | 280.09 | 247.98 | 280.09 | 267.03
3 | Interest and finance charges on loan | Rs. Crore | Form 5 | 387.89 | 398.58 | 398.58 | 372.99 | 386.87 | 343.91 | 395.72
4 | Interest on Working Capital | Rs. Crore | Form 6 | 70.14 | 86.53 | 86.53 | 72.39 | 83.26 | 72.26 | 82.97
5 | Return on Equity | Rs. Crore | Form 7 | 377.86 | 465.1 | 465.1 | 518.27 | 468.58 | 518.27 | 492.62
6 | Less: Non-Tariff Income | Rs. Crore | Form 8 | 11.62 | 15.16 | 15.16 | 12.09 | 15.79 | 12.57 | 16.43
7 | Annual Fixed Charges | Rs. Crore |  | 1288.17 | 1633.61 | 1633.61 | 1432.51 | 1646.63 | 1414.26 | 1718.71
B | Energy Charges
1 | Energy Charge Rate | Rs./kWh | Form 12 | 3.807 | 3.958 | 3.958 | 3.782 | 3.782 | 3.677 | 3.677
2 | Scheduled Energy (ex-bus) | MU | Form 10 | 4801.367 | 4801.367 | 4801.367 | 6275.429 | 6275.429 | 7361.1 | 7361.1
3 | Energy Charges | Rs. Crore |  | 1827.8702 | 1900.387 | 1900.387 | 2373.3672 | 2373.3672 | 2706.6765 | 2706.6765
C | AFC +Energy Charges | Rs. Crore |  | 3116.0402 | 3533.997 | 3533.997 | 3805.8772 | 4019.9972 | 4120.9365 | 4425.3865

## F2
TGGENCO
BTPS
Form 2: Operation and Maintenance Expenses
A. For Existing Generating Stations
(Rs. Crore)
S. No. | Particulars | Reference | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  |  | MYT/Tariff Order | Apr-Mar | True-Up requirement (normative) | MYT/Tariff Order | Apr - Mar | MYT/Tariff Order | Apr - Mar
|  |  | Approved | Audited | Claimed | Approved | Revised Proposal | Approved | Revised Proposal
1 | Employee Expenses | Form 2.1 |  | 354.74 | 354.74 |  | 372.89 |  | 387.81
2 | A&G Expenses | Form 2.2 |  | 19.7 | 19.7 |  | 21.21 |  | 22.47
3 | R & M Expenses | Form 2.3 |  | 76.94 | 76.94 |  | 81.63 |  | 86.52
4 | Total O&M Expenses |  | 189.59 | 451.38 | 451.38 | 200.86 | 475.73 | 212.3 | 496.8
Note:
1 | The projections for the Control Period to be supported by detailed computations

## F2.1
TGGENCO
BTPS
Form 2.1: Employee Expenses
(Rs. Crore)
S.No. | Particulars | FY 2024-25 | FY 2025-26 | FY 2026-27
|  | Apr-Mar | Apr - Mar | Apr - Mar
|  | Audited | Estimated | Projected
1 | Basic Salary | 178.0196 | 186.7747 | 194.2457
2 | Dearness Allowance (DA) | 24.0196 | 25.2255 | 26.2345
3 | House Rent Allowance | 16.1178 | 17.4275 | 18.1246
4 | Conveyance Allowance | 1.0223 | 1.061 | 1.1035
5 | Leave Travel Allowance | 0 | 0 | 0
6 | Earned Leave Encashment | 8.0088 | 7.4919 | 7.7916
7 | Other Allowances | 31.6865 | 33.2805 | 34.6118
8 | Medical Reimbursement | 1.8802 | 1.846 | 1.9198
9 | Overtime Payment | 0 | 0 | 0
10 | Bonus/Ex-Gratia Payments | 0 | 0 | 0
11 | Interim Relief / Wage Revision | 0.003925 | 0.0042325 | 0.0044018
12 | Staff welfare expenses | 3.1968 | 3.3654 | 3.5
13 | VRS Expenses/Retrenchment Compensation | 0 | 0 | 0
14 | Commission to Directors | 0 | 0 | 0
15 | Training Expenses | 0 | 0 | 0
16 | Payment under Workmen's Compensation Act | 0 | 0 | 0
17 | Net Employee Costs | 263.9557 | 276.4768 | 287.5358
18 | Terminal Benefits | 0 | 0 | 0
18.1 | Provident Fund Contribution | 0 | 0 | 0
18.2 | Provision for PF Fund | 17.6998 | 18.6869 | 19.4344
18.3 | Pension Payments | 0 | 0 | 0
18.4 | Gratuity Payment | 73.0859 | 77.7306 | 80.8398
19 | Unfunded past liabilities of pension & gratuity | 0 | 0 | 0
20 | Others | 0 | 0 | 0
21 | Gross Employee Expenses | 354.7414 | 372.8943 | 387.81
22 | Less: Expenses Capitalised
23 | Net Employee Expenses | 354.74 | 372.89 | 387.81

## F2.2
TGGENCO
BTPS
Form 2.2: Administrative & General Expenses
(Rs. Crore)
S. No. | Particulars | FY 2024-25 | FY 2025-26 | FY 2026-27
|  | Apr-Mar | Apr - Mar | Apr - Mar
|  | Audited | Estimated | Projected
1 | Rent Rates & Taxes | 6.6142 | 7.1682 | 7.5983
2 | Insurance | 0 | 0 | 0
3 | Telephone & Postage, etc. | 0.15803 | 0.17033 | 0.18055
4 | Legal charges & Audit fee | 0.42964 | 0.46338 | 0.49119
5 | Professional, Consultancy, Technical fee | 0.041688 | 0.0453 | 0.048018
6 | Conveyance & Travel | 0.096282 | 0.10398 | 0.11022
7 | Electricity charges | 0.47529 | 0.27545 | 0.29198
8 | Water charges | 0.0036908 | 0.0040046 | 0.0042449
9 | Security arrangements | 8.1045 | 8.7593 | 9.2849
10 | Fees & subscription | 0.61184 | 0.66386 | 0.70369
11 | Books & periodicals | 0.00099796 | 0.0010513 | 0.0011144
12 | Computer Stationery | 0 | 0 | 0
13 | Printing & Stationery | 0.038392 | 0.041595 | 0.044091
14 | Advertisements | 0.093594 | 0.19504 | 0.20674
15 | Purchase Related Advertisement Expenses | 0 | 0 | 0
16 | Contribution/Donations | 0 | 0 | 0
17 | License Fee and other related fee | 0 | 0 | 0
18 | Vehicle Running Expenses Truck / Delivery Van | 0.072331 | 0.078654 | 0.083373
19 | Vehicle Hiring Expenses Truck / Delivery Van | 2.5699 | 2.7361 | 2.9002
20 | Cost of services procured | 0 | 0 | 0
21 | Outsourcing of metering and billing system | 0 | 0 | 0
22 | Freight On Capital Equipments | 0.012666 | 0.013841 | 0.014671
23 | V-sat, Internet and related charges | 0 | 0 | 0
24 | Training | 0.084641 | 0.091876 | 0.097388
25 | Bank Charges | 0 | 0 | 0
26 | Miscellaneous Expenses | 0 | 0 | 0
27 | Office Expenses | 0.029621 | 0.03163 | 0.033528
28 | Others | 0.26521 | 0.365 | 0.38
29 | Gross A &G Expenses | 19.7025 | 21.2086 | 22.4742
30 | Less: Expenses Capitalised
31 | Net A &G Expenses | 19.7 | 21.21 | 22.47

## F2.3
TGGENCO
BTPS
Form 2.3: Repair & Maintenance Expenses
(Rs. Crore)
S. No. | Particulars | FY 2024-25 | FY 2025-26 | FY 2026-27
|  | Apr-Mar | Apr - Mar | Apr - Mar
|  | Audited | Estimated | Projected
1 | Plant & Machinery | 62.9768 | 66.8422 | 70.8528
2 | Buildings | 11.2005 | 11.8734 | 12.5858
3 | Civil Works | 0 | 0 | 0
4 | Hydraulic Works | 0 | 0 | 0
5 | Lines & Cable Networks | 2.1611 | 2.283 | 2.4199
6 | Vehicles | 0.069831 | 0.074212 | 0.078664
7 | Furniture & Fixtures | 0 | 0 | 0
8 | Office Equipment | 0.52865 | 0.55534 | 0.585
9 | Gross R&M Expenses | 76.94 | 81.63 | 86.52
10 | Gross Fixed Assets at beginning of year | 7445.28 | 7540.34 | 7579.56
11 | R&M Expenses as % of GFA at beginning of year | 1.033% | 1.083% | 1.141%

## F3
TGGENCO
BTPS
Form 3: Summary of Capital Expenditure and Capitalisation
(Rs. Crore)
S. No. | Particulars | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/Tariff Order | Apr - Mar | MYT/Tariff Order | Apr - Mar
|  | Approved | Audited | Claimed | Approved | Estimated | Approved | Projected
1 | Opening Capital Works in Progress |  |  |  |  | 0 |  | 0
2 | Capital Expenditure during the year |  | 95.06 | 95.06 |  | 39.22 |  | 889.13
3 | Capitalisation during the year |  | 95.06 | 95.06 |  | 39.22 |  | 889.13
4 | Closing Capital Works in Progress | 0 | 0 | 0 | 0 | 0 | 0 | 0

## F3.1
TGGENCO
BTPS
Form 3.1: Statement of Additional Capitalisation after COD
S. No. | FY | Name of the package (BTG, BoP, Civil Works etc.) | Name of the work | Total estimated cost* (Rs. Crore) | Capital expenditure during the year (Rs. Crore) | Capitalisation during the year (Rs. Crore) | Asset group under which the capitalisation has been accounted (Land, Buldings, etc.) | Scope of work | Relevant Clause of the TSERC MYT Regulation, 2023 under which the capitalisation has been claimed | Justification
2024-25
1 | 2024-25 | Civil | Land depostis for acquisition of land at BTPS | 9.7847 |  | 9.7847
2 |  | Civil- buidlings | Power house buidling, A type, B Type Residential Quarters and Project Hostel | 15.3142 |  | 15.3142
3 |  | Plant and Machinery | I&C, Boiler, Turrbine, generator CWIP | 63 |  | 63
4 |  | BOP | CW Pump House Stage-II | 0.40957 |  | 0.40957
5 |  | Civil | Other civil works | 3.6358 |  | 3.6358
6 |  | Civil | Furniture and Fixtures | 0.10886 |  | 0.10886
7 |  | Vehicles | Lorry, 11T/12T, 1917R 4x2 5100 BHARAT BENZ | 0.29208 |  | 0.29208
8 |  |  | Photo copier , Cpu Microprocessor 32 bit embedded | 0.94293 |  | 0.94293
9 |  |  | Surveillance system with 40 Nos. CC cameras | 1.75 |  | 1.75
10 |  |  | Surveilance system | 0.081767 |  | 0.081767
11 |  |  | Biometric device and Face detecting systems | 0.04 |  | 0.04
| … |  | Office & Canteen Equipment | 2.41 |  | 2.41
| Total |  |  |  |  | 97.77
2025-26
1 |  | Civil | Balance Non-EPC works of BTPS | 778.59 | 765.16 | 13.43 |  | Township & Landscapping, Colony STP etc | 22.1 (additional capitalisation) | Original Scope
2 | 2025-26 | Non EPC(E&M works) and Non EPC Civil works | New conveying system for diversion of raw coal from the exsisting crusher house to stock the raw coal near chain conveyors area and construction of space frame structure raw coal storage shed at BTPS(4X270MW) Project. | 135.87 | 60.87 | 0 | CHP | Design, engineering, manufacture, supply, assembly, testing at manufacturers works, inspection, packing for inland freight, forwarding, transit insurance, delivery FOR site, erection, supervision, testing and commissioning of new conveying system for diversion of raw coal including modification works in the existing crusher house and construction of new raw coal storage shed with all accessories, Mandatory Spares, Tools & Tackles including all mechanical, electrical, C&I, civil, structural works, dust suppression, dust extraction and fire fighting system at BTPS(4X270MW) project”. | Clause no.22.3 of TGERC Regulation 2 of 2023 | It is very essential to have raw coal storage shed as the rainfall in Manuguru mandal consistinly exceeding the normal level resulted to receipt of higher wet coal, consequently Generation loss and opertational issues impacting the performance of the units. Hence, construction of Raw coal storage shed is essential.
3 |  | BTG | Procurement of Generation Transformer (320MVA, 16.5/420KV) at BTPS Stage-I | 25.79 | 25.79 | 25.79 |  |  | 22.1 (additional capitalisation) | i). 04 numbers Generator Transformers of BHEL make are available at BTPS, out of which, 03 numbers are in service and GT-1 got damaged in a fire accident. LOI was issued for repair of damaged GT-1. ii). High level committee in its report observed that there is presence of gases viz. Methane and Acetylene in other transformers also. Generator Transformer is a critical equipement and its failure leads to Generation Loss. iii). In addition to the above, Non-avaialbility of spare Generator Trasnformer affects the unit availability as the lead period for manufacture 7 supply of Generator transformer is 8 months as per the budgetory offer of OEM i.e., M/s. BHEL. iv). Hence, it is desirable to have 1 no. Generator Transformer which is interchangeable for all GTs as spare. v). Further, Committee constituted vide TGOO No.60, Dt.14.08.2024 has opined to procure a new Generator Transformer also as a spare to avoid Generation loss in the event of any eventuality in four units of BTPS
…
| Total |  |  |  |  | 39.22
2026-27
1 |  | Civil | Balance Non-EPC works of BTPS | 778.59 | 753.26 | 753.26 |  | Township & Landscapping, Colony STP etc | 22.1 (additional capitalisation) | Original Scope
2 | 2026-27 | Non EPC(E&M works) and Non EPC Civil works | New conveying system for diversion of raw coal from the exsisting crusher house to stock the raw coal near chain conveyors area and construction of space frame structure raw coal storage shed at BTPS(4X270MW) Project. |  | 75 | 135.87 | CHP | Design, engineering, manufacture, supply, assembly, testing at manufacturers works, inspection, packing for inland freight, forwarding, transit insurance, delivery FOR site, erection, supervision, testing and commissioning of new conveying system for diversion of raw coal including modification works in the existing crusher house and construction of new raw coal storage shed with all accessories, Mandatory Spares, Tools & Tackles including all mechanical, electrical, C&I, civil, structural works, dust suppression, dust extraction and fire fighting system at BTPS(4X270MW) project”. | Clause no.22.3 of TGERC Regulation 2 of 2023 | It is very essential to have raw coal storage shed as the rainfall in Manuguru mandal consistinly exceeding the normal level resulted to receipt of higher wet coal, consequently Generation loss and opertational issues impacting the performance of the units. Hence, construction of Raw coal storage shed is essential.
3
…
| Total |  |  |  |  | 889.13
* | Total estimated cost to be supported by documentary evidences like work orders, investment approvals etc.

## F3.2
TGGENCO
BTPS
Form 3.2: Financing of Additional Capitalisation
S. No. | Particulars | FY 2024-25 | FY 2025-26 | FY 2026-27
|  |  | Apr - Mar | n+1
|  | Actual | Estimated | Projected
1 | Additional capitalisation | 95.06 | 39.22 | 889.13
2 | Financing Details
Loan 1
Loan 2
…
| Total Loan | 0 | 0 | 0
3 | Equity
4 | Internal Resources | 95.06 | 39.22 | 889.13
5 | Others (Please Specify)
6 | Total (2+3+4+5) | 95.06 | 39.22 | 889.13

## F4
TGGENCO
BTPS
Form 4: Fixed Assets & Depreciation
(Rs. Crore)
FY 2024-25
S.No. | Asset Group | A/c Code | Rate of Depriciation | Gross fixed Assets |  |  |  | Provisions for depreciation |  |  |  | Net fixed Assets
|  |  |  | At the beginning of the year | Additions during the year | Adjust. & deductions | At the end of the year | Cumulative upto the beginning of the year | Additions during the year | Adjust. during the year | Cumulative at the end of the year | At the beginning of the year | At the end of the year
1 | LAND DEPOSITS | 1010 |  | 122.7674 | 9.7847 |  | 132.5521 | 0 | 0 |  | 0 | 122.7674 | 132.5521
2 | BUILDINGS | 1100 |  | 629.1231 | 15.3142 |  | 644.4373 | 79.7803 | 19.0973 |  | 98.8776 | 549.3428 | 545.5597
3 | LINES AND CABLE NETWORK | 1200 |  | 661.7958 | 0.077653 |  | 661.8735 | 95.4536 | 22.5967 |  | 118.0503 | 566.3422 | 543.8232
4 | PLANT AND EQUIPMENT | 1300 |  | 5049.1185 | 62.9266 |  | 5112.0513 | 801.3263 | 173.3086 |  | 974.6349 | 4247.7922 | 4137.4164
5 | CAPITAL SPARES | 1400 |  | 31.96 | 0 |  | 31.96 | 2.5851 | 1.3878 |  | 3.9729 | 29.3749 | 27.9871
6 | HYDRAULIC WORKS | 1500 |  | 822.3607 | 0.40957 |  | 822.7703 | 143.6495 | 25.4162 |  | 169.0657 | 678.7112 | 653.7046
7 | OTHER CIVIL WORKS | 1600 |  | 124.9389 | 3.6358 |  | 128.5747 | 6.254 | 4.1833 |  | 10.4373 | 118.6849 | 118.1374
8 | VEHICLES | 1700 |  | 0.64518 | 0.29208 |  | 0.93726 | 0.13185 | 0.19858 |  | 0.33043 | 0.51332 | 0.60683
9 | FURNITURE & FIXTURES | 1800 |  | 1.2496 | 0.10886 |  | 1.3584 | 0.24091 | 0.10863 |  | 0.34954 | 1.0087 | 1.0089
10 | COMPUTERS | 1900 |  | 0.95105 | 0.094293 |  | 1.0453 | 0.36158 | 0.18536 |  | 0.54694 | 0.58946 | 0.4984
11 | OFFICE EQUIPMENTS | 2100 |  | 0.36546 | 2.4143 |  | 2.7798 | 0.1369 | 0.69256 |  | 0.82946 | 0.22856 | 1.9503
| Total |  | 3.299% | 7445.28 | 95.06 | 0 | 7540.34 | 1129.92 | 247.18 | 0 | 1377.1 | 6315.36 | 6163.24
FY 2025-26
S.No. | Asset Group | A/c Code | Rate of Depriciation | Gross fixed Assets |  |  |  | Provisions for depreciation |  |  |  | Net fixed Assets
|  |  |  | At the beginning of the year | Additions during the year | Adjust. & deductions | At the end of the year | Cumulative upto the beginning of the year | Additions during the year | Adjust. during the year | Cumulative at the end of the year | At the beginning of the year | At the end of the year
1 | LAND DEPOSITS | 1010 |  | 132.5521 |  |  | 132.5521 | 0 | 0 |  | 0 | 132.5521 | 132.5521
2 | BUILDINGS | 1100 |  | 644.4373 |  |  | 644.4373 | 98.8776 | 19.0973 |  | 117.975 | 545.5597 | 526.4623
3 | LINES AND CABLE NETWORK | 1200 |  | 661.8735 |  |  | 661.8735 | 118.0503 | 22.5967 |  | 140.647 | 543.8232 | 521.2264
4 | PLANT AND EQUIPMENT | 1300 |  | 5112.0513 | 39.22 |  | 5151.2713 | 974.6349 | 174.1135 |  | 1148.7484 | 4137.4164 | 4002.5229
5 | CAPITAL SPARES | 1400 |  | 31.96 |  |  | 31.96 | 3.9729 | 1.3878 |  | 5.3607 | 27.9871 | 26.5993
6 | HYDRAULIC WORKS | 1500 |  | 822.7703 |  |  | 822.7703 | 169.0657 | 25.4162 |  | 194.4818 | 653.7046 | 628.2884
7 | OTHER CIVIL WORKS | 1600 |  | 128.5747 |  |  | 128.5747 | 10.4373 | 4.1833 |  | 14.6206 | 118.1374 | 113.9541
8 | VEHICLES | 1700 |  | 0.93726 |  |  | 0.93726 | 0.33043 | 0.19858 |  | 0.52901 | 0.60683 | 0.40825
9 | FURNITURE & FIXTURES | 1800 |  | 1.3584 |  |  | 1.3584 | 0.34954 | 0.10863 |  | 0.45817 | 1.0089 | 0.90026
10 | COMPUTERS | 1900 |  | 1.0453 |  |  | 1.0453 | 0.54694 | 0.18536 |  | 0.7323 | 0.4984 | 0.31304
11 | OFFICE EQUIPMENTS | 2100 |  | 2.7798 |  |  | 2.7798 | 0.82946 | 0.69256 |  | 1.522 | 1.9503 | 1.2578
| Total |  | 3.28% | 7540.34 | 39.22 | 0 | 7579.56 | 1377.1 | 247.98 | 0 | 1625.08 | 6163.24 | 5954.48
FY 2026-27
S.No. | Asset Group | A/c Code | Rate of Depriciation | Gross fixed Assets |  |  |  | Provisions for depreciation |  |  |  | Net fixed Assets
|  |  |  | At the beginning of the year | Additions during the year | Adjust. & deductions | At the end of the year | Cumulative upto the beginning of the year | Additions during the year | Adjust. during the year | Cumulative at the end of the year | At the beginning of the year | At the end of the year
1 | LAND DEPOSITS | 1010 | 0 | 132.5521 |  |  | 132.5521 | 0 | 0 |  | 0 | 132.5521 | 132.5521
2 | BUILDINGS | 1100 |  | 644.4373 |  |  | 644.4373 | 117.975 | 19.0973 |  | 137.0723 | 526.4623 | 507.365
3 | LINES AND CABLE NETWORK | 1200 |  | 661.8735 |  |  | 661.8735 | 140.647 | 22.5967 |  | 163.2437 | 521.2264 | 498.6297
4 | PLANT AND EQUIPMENT | 1300 |  | 5151.2713 | 110.13 |  | 5261.4013 | 1148.7484 | 183.1635 |  | 1331.9119 | 4002.5229 | 3929.4894
5 | CAPITAL SPARES | 1400 |  | 31.96 |  |  | 31.96 | 5.3607 | 1.3878 |  | 6.7485 | 26.5993 | 25.2115
6 | HYDRAULIC WORKS | 1500 |  | 822.7703 |  |  | 822.7703 | 194.4818 | 25.4162 |  | 219.898 | 628.2884 | 602.8723
7 | OTHER CIVIL WORKS | 1600 |  | 128.5747 | 779 |  | 907.5747 | 14.6206 | 14.1833 |  | 28.8039 | 113.9541 | 878.7708
8 | VEHICLES | 1700 |  | 0.93726 |  |  | 0.93726 | 0.52901 | 0.19858 |  | 0.72758 | 0.40825 | 0.20967
9 | FURNITURE & FIXTURES | 1800 |  | 1.3584 |  |  | 1.3584 | 0.45817 | 0.10863 |  | 0.5668 | 0.90026 | 0.79164
10 | COMPUTERS | 1900 |  | 1.0453 |  |  | 1.0453 | 0.7323 | 0.18536 |  | 0.91765 | 0.31304 | 0.12769
11 | OFFICE EQUIPMENTS | 2100 |  | 2.7798 |  |  | 2.7798 | 1.522 | 0.69256 |  | 2.2146 | 1.2578 | 0.5652
| Total |  | 3.328% | 7579.56 | 889.13 | 0 | 8468.69 | 1625.08 | 267.03 | 0 | 1892.11 | 5954.48 | 6576.58

## F5
TGGENCO
BTPS
Form 5: Interest and finance charges on loan
A. | Normative Loan | [6 empty] | (Rs. Crore)
S. No. | Particulars | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  | MYT/ Tariff Order | Apr-Mar | True-Up requirement | MYT/ Tariff Order | Apr - Mar | MYT/ Tariff Order | Apr - Mar
|  | Approved | Audited | Claimed | Approved | Revised Proposal | Approved | Revised Proposal
1 | Opening Balance of Gross Normative Loan |  | 5211.696 | 5211.696 |  | 5282.991 |  | 5312.406
2 | Cumulative Repayment till the year |  | 1129.92 | 1129.92 |  | 1377.1 |  | 1625.08
3 | Opening Balance of Net Normative Loan | 0 | 4081.776 | 4081.776 | 0 | 3905.891 |  | 3687.326
4 | Less: Reduction of Normative Loan due to retirement or replacement of assets
5 | Addition of Normative Loan due to capitalisation during the year1 |  | 71.295 | 71.295 | 0 | 29.415 | 0 | 666.8475
6 | Repayment of Normative loan during the year |  | 247.18 | 247.18 |  | 247.98 |  | 267.03
7 | Closing Balance of Net Normative Loan |  | 3905.891 | 3905.891 |  | 3687.326 |  | 4087.1435
8 | Closing Balance of Gross Normative Loan |  | 5035.811 | 5035.811 |  | 5064.426 |  | 5712.2235
9 | Average Balance of Net Normative Loan |  | 3993.8335 | 3993.8335 |  | 3796.6085 |  | 3887.2348
10 | Weighted average Rate of Interest on actual Loans (%) |  | 9.98% | 9.98% |  | 10.19% |  | 10.18%
11 | Interest | 0 | 398.58 | 398.58 | 0 | 386.87 | 0 | 395.72
12 | Finance charges
13 | Total Interest & Finance charges | 387.89 | 398.58 | 398.58 | 372.99 | 386.87 | 343.91 | 395.72
Note:
1 In case actual loan is more than 75%, the modification in the formula need to be done accordingly.
B. | Actual loan portfolio
S. No. | Particulars | FY 2024-25 | FY 20225-26 | FY 2026-27
|  | Apr-Mar | Apr - Mar | Apr - Mar
|  | Audited | Estimated | Projected
1 | Loan 1-Main Plant -PFC
| Opening Balance of Loan | 5427.32 | 5036.67 | 4832.23
| Addition of Loan during the year | 18.96 | 216.35 | 0
| Loan Repayment during the year | 409.61 | 420.79 | 429.53
| Closing Balance of Loan | 5036.67 | 4832.23 | 4402.7
| Average Loan Balance | 5222.81 | 4882.6471 | 4636.5686
| Applicable Interest Rate (%) | 9.9512 | 10.2 | 10.2
| Interest | 519.73 | 498.03 | 472.93
| Finance charges | 0
| Total Interest & Finance charges | 519.73 | 498.03 | 472.93
2 | Loan 2-PFC for FGD(Limited to SCR & Additional ESP modifications)
| Opening Balance of Loan | 418.12 | 210.92 | 196.46
| Addition of Loan during the year | 0 | 0 | 0
| Loan Repayment during the year | 207.2 | 14.46 | 14.46
| Closing Balance of Loan | 210.92 | 196.46 | 182
| Average Loan Balance | 298.92 | 205.4936 | 189.8429
| Applicable Interest Rate (%) | 10.47 | 10.0246 | 9.55
| Interest | 31.31 | 20.6 | 18.13
| Finance charges | 0 | 0 | 0
| Total Interest & Finance charges | 31.31 | 20.6 | 18.13
…......
3 | Loan 3-PFC for FGD
| Opening Balance of Loan |  | 0 | 315.82
| Addition of Loan during the year |  | 315.82 | 87.7
| Loan Repayment during the year |  | 0 | 7.21
| Closing Balance of Loan |  | 315.82 | 396.31
| Average Loan Balance |  | 106.2366 | 388.172
| Applicable Interest Rate (%) |  | 9.3 | 9.3
| Interest |  | 9.88 | 36.1
| Finance charges |  | 0 | 0
| Total Interest & Finance charges |  | 9.88 | 36.1
Total
| Opening Balance of Loan | 5845.44 | 5247.59 | 5344.51
| Addition of Loan during the year | 18.96 | 532.17 | 87.7
| Loan Repayment during the year | 616.81 | 435.25 | 451.2
| Closing Balance of Loan | 5247.59 | 5344.51 | 4981.01
| Average Loan Balance | 5521.73 | 5194.3772 | 5214.5836
| Applicable Interest Rate (%) | 9.9795 | 10.1747 | 10.1093
| Interest | 551.04 | 528.51 | 527.16
| Finance charges | 0 | 0 | 0
| Total Interest & Finance charges | 551.04 | 528.51 | 527.16

## F6
TGGENCO
BTPS
Form 6: Interest on working capital
(Rs. Crore)
S. No. | Particulars | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/Tariff Order | Apr - Mar | MYT/Tariff Order | n+1
|  | Approved | Audited | Claimed | Approved | Revised Proposal | Approved | Revised Proposal
1 | Cost of coal, towards stock |  | 158.725 | 158.725 |  | 151.114 |  | 146.8402
2 | Cost of coal for generation |  | 238.0874 | 238.0874 |  | 226.6709 |  | 220.2603
3 | Cost of secondary fuel oil |  | 1.2846 | 1.2846 |  | 2.0562 |  | 2.1167
4 | O&M expenses |  | 37.615 | 37.615 |  | 39.6442 |  | 41.4
5 | Maintenance spares |  | 74.4528 | 74.4528 |  | 75.4034 |  | 75.7956
6 | Receivables1 |  | 560.462 | 560.462 |  | 546.1 |  | 545.4613
Less:
7 | Payables for Fuels2 |  | 239.372 | 239.372 |  | 228.7272 |  | 222.377
8 | Total Working Capital requirement | 0 | 831.2548 | 831.2548 | 0 | 812.2615 | 0 | 809.4971
9 | Interest rate |  | 10.41% | 10.41% | 10.08% | 10.25% |  | 10.25%
10 | Interest on working capital | 70.14 | 86.53 | 86.53 | 72.39 | 83.26 | 72.26 | 82.97
Note:
1 In case actual availability is less or more than normative value, the modification in the formula need to be done accordingly.

## F7
TGGENCO
BTPS
Form 7: Return on Equity
(Rs. Crore)
S. No. | Particulars | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/Tariff Order | Apr - Mar | MYT/Tariff Order | Apr - Mar
|  | Approved | Audited | Claimed | Approved | Revised Proposal | Approved | Revised Proposal
1 | Regulatory Equity at the beginning of the year |  | 2233.584 | 2233.584 |  | 2257.349 |  | 2267.154
2 | Capitalisation during the year |  | 95.06 | 95.06 | 0 | 39.22 | 0 | 889.13
3 | Equity portion of capitalisation during the year | 0 | 23.765 | 23.765 | 0 | 9.805 | 0 | 222.2825
4 | Reduction in Equity Capital on account of retirement / replacement of assets
5 | Regulatory Equity at the end of the year | 0 | 2257.349 | 2257.349 | 0 | 2267.154 |  | 2489.4365
Rate of Return on Equity
6 | Base rate of Return on Equity | 11.5% | 15.5% | 15.5% | 11.5% | 15.5% | 15.5% | 15.5%
7 | Effective Income Tax rate | 25.17% | 25.17% | 25.17% | 25.17% | 25.17% | 25.17% | 25.17%
8 | Rate of Return on Equity | 15.37% | 20.71% | 20.71% | 15.37% | 20.71% | 20.71% | 20.71%
Return on Equity Computation
9 | Return on Regulatory Equity at the beginning of the year | 0 | 462.6437 | 462.6437 | 0 | 467.5661 |  | 469.5971
10 | Return on Regulatory Equity addition during the year | 0 | 2.4612 | 2.4612 | 0 | 1.0155 |  | 23.0208
11 | Total Return on Equity | 377.86 | 465.1 | 465.1 | 518.27 | 468.58 | 518.27 | 492.62
Note:
1 In case actual loan is more than 75%, the modification in the formula need to be done accordingly.

## F8
TGGENCO
BTPS
Form 8: Non-Tariff Income
(Rs. Crore)
S. No. | Particulars | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/Tariff Order | Apr - Mar | MYT/Tariff Order | n+1
|  | Approved | Audited | Claimed | Approved | Estimated | Approved | Projected
1 | CURRENT CONSUMPTION CHARGES |  | 0.10379 | 0.10379 |  | 0.10794 |  | 0.11226
2 | INCOME FROM SALE OF ASH |  | 0.0025294 | 0.0025294 |  | 0.0026306 |  | 0.0027358
3 | INCOME FROM SALE OF COAL REJECTS |  | 0.065958 | 0.065958 |  | 0.068596 |  | 0.07134
4 | INCOME FROM SALE OF SCRAP |  | 0 | 0 |  | 0 |  | 0
5 | INTEREST INCOME ON EMPLOYEES - Ind AS |  | 0.21206 | 0.21206 |  | 0.22054 |  | 0.22937
6 | INTEREST INCOME ON SD |  | 0.053664 | 0.053664 |  | 0.05581 |  | 0.058043
7 | INTEREST ON CYCLE/MOPED/MOTOR CYCLE/CAR ADVANCE |  | 0.13865 | 0.13865 |  | 0.14419 |  | 0.14996
8 | INTEREST ON MARRIAGE ADVANCE TO STAFF |  | 0.32997 | 0.32997 |  | 0.34317 |  | 0.3569
9 | INTEREST ON STAFF LOANS & ADVANCES(HOUSE BUILDING) |  | 13.6461 | 13.6461 |  | 14.1919 |  | 14.7596
10 | INTEREST/INCOME FROM OTHER DEPOSITS |  | 0 | 0 |  | 0 |  | 0
11 | INTEREST/INCOME ON DEPOSITS FROM BANKS |  | 0.34061 | 0.34061 |  | 0.35423 |  | 0.3684
12 | OTHER INCOME - CONSULTANCY PROJECTS |  | 0 | 0 |  | 0 |  | 0
13 | OTHER MISCELLANEOUS RECEIPTS/INCOME |  | 0.0035138 | 0.0035138 |  | 0.0036544 |  | 0.0038005
14 | OTHER RECEIPTS FROM CONTRACTORS |  | 0.024448 | 0.024448 |  | 0.025426 |  | 0.026443
15 | OTHER RECEIPTS FROM STAFF |  | 0.18535 | 0.18535 |  | 0.19276 |  | 0.20047
16 | OTHER RENTAL OR LETTING OUT |  | 0.013326 | 0.013326 |  | 0.013859 |  | 0.014414
17 | PENALITIES RECOVERED FROM CONTRACTORS | 0 | 0.037011 | 0.037011 |  | 0.038492 |  | 0.040031
18 | RENTAL FROM RES. QUARTERS FROM UN REG PERSONS |  | 0.00039226 | 0.00039226 |  | 0.027165 |  | 0.028252
19 | RENTAL FROM STAFF FOR RESIDENTIAL QUARTERS |  | 0.0027672 | 0.0027672 |  | 0.0033704 |  | 0.0035052
| Total | 11.62 | 15.16 | 15.16 | 12.09 | 15.79 | 12.57 | 16.43

## F9
TGGENCO
BTPS
Form 9: Planned & Forced Outages
S.No. | Particulars | FY 2024-25 | FY 2025-26 | FY 2026-27
|  | April-March | Apr - Mar | Apr - Mar
|  | Actual | Estimated | Projected
1 | Unit 1 / Station 1
A. | Planned Outages
No of days of outage
Period of Outage
| Reasons for Outage | (enclosed as Annexure)
B. | Forced Outages
No of days of outage
Period of Outage
Reasons for Outage
2 | Unit 2 / Station 2
……
……
…….
Note:
Details of outages should be submitted for each Unit of each station separately

## F10
TGGENCO
BTPS
Form 10: Operational parameters
S. No. | Particulars | Units | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27 |  | Remarks
|  |  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/Tariff Order | April - March | MYT/Tariff Order | April - March
|  |  | Approved | Audited | Claimed | Approved | Estimated | Approved | Projected
1 | Installed Capacity | MW | 4X270 | 1080
| COD |  | 05.06.2020 07.12.2020 27.03.2021 09.01.2022
| Type of Thermal Generating Station (Pithead/Non-Pithead) |  | Non-Pit Head
2 | Availability
2.1 | Target Availability for full recovery of AFC | % | 85 | 85 | 85 | 85 | 85 | 85 | 85
2.2 | Actual/Projected Availability | % |  | 62.86 | 62.86 |  | 85 |  | 85
3 | Plant Load Factor (PLF)
3.1 | Target PLF for Incentive | % | 85 | 85 | 85 | 85 | 85 | 85 | 85
3.2 | Actual/Projected PLF | % |  | 66.7 | 66.7 | 85 | 85.03 | 85 | 85.03
4 | Gross Generation
4.1 | Scheduled Generation | MU |  | 4801.367 | 4801.367 |  | 6275.429 |  | 7361.1
4.2 | Actual/Projected Gross Generation | MU |  | 5332.793 | 5332.793 |  | 6913.14 |  | 8044.92
5 | Auxiliary Consumption
5.1 | Normative Auxiliary Energy Consumption | % | 8.5 | 8.5 | 8.5 | 8.5 | 8.5 | 8.5 | 8.5
5.2 | Actual/Projected Auxiliary Energy Consumption | % |  | 9.9652 | 9.9652 |  | 9.2246 | 8.5 | 8.5
5.3 | Actual/Projected Auxiliary Energy Consumption | MU |  | 531.426 | 531.426 |  | 637.711 |  | 683.82
5.4 | Net Generation | MU |  | 4801.367 | 4801.367 |  | 6275.429 |  | 7361.1
6 | Gross Station Heat Rate
6.1 | Normative Gross Station Heat Rate | kcal/kWh | 2318.4 | 2318.4 | 2318.4 | 2318.4 | 2318.4 | 2318.4 | 2318.4
6.2 | Actual/Projected Gross Station Heat Rate | kcal/kWh |  | 2379.1888 | 2376 |  | 2318.4 |  | 2318.4
7 | Secondary Fuel Oil Consumption
7.1 | Normative Secondary Fuel Oil Consumption | ml/kWh | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
7.2 | Actual/Projected Secondary Fuel Oil Consumption | ml/kWh |  | 0.29309 | 0.29309 |  | 0.5 |  | 0.5
8 | Transit Loss
8.1 | Normative Transit Loss | % | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
8.2 | Actual/Projected Transit Loss | % |  |  |  |  | 0.8 |  | 0.8

## F11
TGGENCO
BTPS
Form 11: Fuel Details for computation of Energy Charge Rate
S. No. | Particulars | Units | FY 2024-25 | [11 empty] | FY 2025-26
|  |  | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
A | Opening Quantity
1 | Opening quantity of coal | MT | 181569.361 | 171154.201 | 154498.821 | 126774.211 | 135987.091 | 139634.231 | 75810.091 | 222670.951 | 310995.651 | 238065.921 | 192031.721 | 192863.451 | 347736.361 | 358415.081 | 312639.621 | 248963.011 | 187715.881 | 107542.581
2 | Value ot stock | Rs.in Crs | 81.4584 | 79.5444 | 74.4657 | 59.5311 | 69.8651 | 64.4531 | 32.6196 | 87.464 | 134.0771 | 112.4033 | 93.8886 | 93.7961 | 178.9507 | 186.1986 | 164.0157 | 138.0294 | 94.6616 | 53.4683
B | Procurement
3 | Quantity of coal suppllied by the coal company | MT | 436128.53 | 437307 | 395100.83 | 336667.98 | 330456.9 | 238531.99 | 459031.18 | 268584.93 | 227535.36 | 294365.19 | 305491.82 | 482605.8 | 361074.96 | 356523.72 | 304208.68 | 264771.2 | 299827.03 | 361600.01
4 | Adjustment in coal quantity supplied by the coal company (-/+) | MT
5 | Coal supplied by coal company (3+4) | MT | 436128.53 | 437307 | 395100.83 | 336667.98 | 330456.9 | 238531.99 | 459031.18 | 268584.93 | 227535.36 | 294365.19 | 305491.82 | 482605.8 | 361074.96 | 356523.72 | 304208.68 | 264771.2 | 299827.03 | 361600.01
6 | Normative transit and handling loss | MT | 3489.0282 | 3498.456 | 3160.8066 | 2693.3438 | 2643.6552 | 1908.2559 | 3672.2494 | 2148.6794 | 1820.2829 | 2354.9215 | 2443.9346 | 3860.8464 | 2888.5997 | 2852.1898 | 2433.6694 | 2118.1696 | 2398.6162 | 2892.8001
7 | Net coal supplied | MT | 432639.5018 | 433808.544 | 391940.0234 | 333974.6362 | 327813.2448 | 236623.7341 | 455358.9306 | 266436.2506 | 225715.0771 | 292010.2685 | 303047.8854 | 478744.9536 | 358186.3603 | 353671.5302 | 301775.0106 | 262653.0304 | 297428.4138 | 358707.2099
C | Price
8 | Amount charged by coal company | Rs.in Crs | 210.2788 | 241.8482 | 217.9395 | 171.9842 | 165.4458 | 108.1358 | 209.6021 | 139.8834 | 132.7946 | 158.721 | 149.6827 | 246.2302 | 200.5553 | 214.3458 | 166.8453 | 118.1647 | 146.4944 | 170.2376
9 | Adjustment in amount charged by the coal company | Rs.in Crs | -12.4161 | -35.9683 | -41.3576 | 0.74767 | -25.7989 | -14.2177 | -40.1324 | -20.2002 | -16.461 | -15.8391 | -6.3709 | -0.76188 | -17.5966 | -31.8037 | 5.4569 | -1.9619 | -4.2349 | -13.119
10 | Handling, sampling and such other similar charges | Rs.in Crs | 0.34434 | 0.34185 | 0.31493 | 0.32902 | 0.44603 | 0.40693 | 0.40799 | 0.42319 | 0.32754 | 0.41297 | 0.067721 | 0.51706 | 0.40245 | 0.38185 | 0.37782 | 0.39402 | 0.44233 | 0.39604
11 | Total amount charged (8+9+10) | Rs.in Crs | 198.207 | 206.2218 | 176.8968 | 173.0609 | 140.0929 | 94.325 | 169.8777 | 120.1064 | 116.6612 | 143.2948 | 143.3796 | 245.9854 | 183.3611 | 182.9239 | 172.68 | 116.5968 | 142.7018 | 157.5146
D | Transportation
12 | Transportation charges
| By rail | Rs.in Crs
| By road | Rs.in Crs | 5.7898 | 5.8151 | 5.2364 | 4.1235 | 4.1253 | 3.1182 | 6.1433 | 3.2945 | 2.6707 | 3.4679 | 3.506 | 5.839 | 4.419 | 4.4494 | 3.9464 | 3.3721 | 3.8419 | 5.0261
| By ship | Rs.in Crs
| … | Rs.in Crs
13 | Adjustment in amount charged by the coal transporter | Rs.in Crs
14 | Demurrage charges, if any | Rs.in Crs
15 | Cost of diesel in transporting coal through MGR system, if applicable | Rs.in Crs
16 | Total Transportation charges (12+13+14+15) | Rs.in Crs | 5.7898 | 5.8151 | 5.2364 | 4.1235 | 4.1253 | 3.1182 | 6.1433 | 3.2945 | 2.6707 | 3.4679 | 3.506 | 5.839 | 4.419 | 4.4494 | 3.9464 | 3.3721 | 3.8419 | 5.0261
17 | Total amount charged for coal supplied including transportation (11+16) | Rs.in Crs | 203.9968 | 212.0369 | 182.1332 | 177.1844 | 144.2183 | 97.4432 | 176.021 | 123.4009 | 119.3318 | 146.7627 | 146.8856 | 251.8243 | 187.7801 | 187.3734 | 176.6263 | 119.9689 | 146.5437 | 162.5407
E | Total Cost
18 | Landed cost of coal (2+17)/(1+7) | Rs./MT | 4647.5273 | 4819.8213 | 4695.8391 | 5137.6255 | 4615.8513 | 4302.8011 | 3927.9504 | 4311.2224 | 4721.5186 | 4889.2214 | 4863.3427 | 5146.1598 | 5195.0561 | 5246.16 | 5544.1723 | 5042.8105 | 4971.826 | 4632.903
19 | Blending Ratio (Domestic/Imported)
20 | Weighted average cost of coal for preceding three months | Rs./MT
F | Quality
21 | GCV of Domestic Coal of the opening coal stock as per bill of Coal Company | kcal/kg
22 | GCV of Domestic Coal supplied as per bill of Coal Company | kcal/kg
23 | GCV of Imported Coal of the opening stock as per bill Coal Company | kcal/kg
24 | GCV of Imported Coal supplied as per bill Coal Company | kcal/kg
25 | Weighted average GCV of coal as Billed | kcal/kg | 3686 | 3664 | 3607 | 3862 | 3113 | 2978 | 3015 | 3532 | 4027 | 3593 | 3462 | 4008 | 3859 | 3828 | 4163 | 3498 | 3735 | 3781
26 | GCV of Domestic Coal of the opening stock as received at Station | kcal/kg | 3627 | 3733.0115 | 3840.1469 | 3756.3515 | 3713.5205 | 3717.5589 | 3398.1427 | 3419.8658 | 3513.2988 | 3542.4367 | 3520.9518 | 3739.1225
27 | GCV of Domestic Coal supplied as received at Station | kcal/kg | 3425 | 3402 | 3397 | 3238 | 2896 | 2699 | 2763 | 3258 | 3618 | 3252 | 3256 | 3700
28 | GCV of Imported Coal of opening stock as received at Station | kcal/kg
29 | GCV of Imported Coal of opening stock as received at Station | kcal/kg
30 | Weighted average GCV of coal as Received | kcal/kg | 3391.5484 | 3399.0629 | 3397.5784 | 3281.6144 | 3008.2264 | 2813.1106 | 2770.0958 | 3037.0074 | 3283.1462 | 3265.9223 | 3259.8252 | 3574.4677 | 3667 | 3828 | 3692 | 3109 | 3185 | 3292
Note:
1 | Similar details to be furnished for secondary fuel oil for coal based thermal plants with appropriate units.
2 | As billed and as received GCV, quantity of coal, and price should be submitted as certified by statutory auditor.
3 | Details to be provided for each source separately. In case of more than one source, add additional column.
4 | Break up of the amount charged by the Coal Company is to be provided separately.

## F11.1
Telangana State Power Generation Corporation Limited
BTPS
Form 11.1: Fuel Details for computation of Energy Charge Rate
S. No. | Particulars | Units | 2024-04-01 |  | 2024-05-01 |  | 2024-06-01 |  | 2024-07-01 |  | 2024-08-01 |  | 2024-09-01 |  | 2024-10-01 |  | 2024-11-01 |  | 2024-12-01 |  | 2025-01-01 |  | 2025-02-01 |  | 2025-03-01 |  | 2025-04-01 |  | 2025-05-01 |  | 2025-06-01 |  | 2025-07-01 |  | 2025-08-01 |  | 2025-09-01
|  |  | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO | HFO | LDO
A | Opening Quantity
1 | Opening quantity of oil | KL | 3020.81 | 524.59 | 2862.81 | 480.59 | 2780.81 | 449.59 | 2677.81 | 396.59 | 2599.81 | 376.59 | 2515.81 | 406.59 | 2350.81 | 412.56 | 2292.81 | 391.56 | 2182.81 | 414.56 | 2116.51 | 423.56 | 2095.51 | 423.56 | 2160.87 | 421.56 | 2237.95 | 561.56 | 2040.75 | 543.56 | 1993.75 | 543.56 | 2383.41 | 515.56 | 2296.8 | 480.56 | 2310.73 | 448.56
2 | Value ot stock | Rs.in Crs | 17.5172 | 4.71 | 16.601 | 4.3149 | 16.1255 | 4.0366 | 15.5282 | 3.5607 | 15.0759 | 3.3812 | 14.5888 | 3.5914 | 13.632 | 3.5403 | 13.2957 | 3.3601 | 12.6578 | 3.4886 | 12.3004 | 3.5202 | 12.1784 | 3.5202 | 12.7129 | 3.4828 | 13.232 | 4.5228 | 12.0592 | 4.3405 | 11.7814 | 4.3405 | 14.1355 | 4.1169 | 13.6391 | 3.8374 | 13.7366 | 3.5819
B | Procurement
3 | Quantity of oil suppllied by the oil company | KL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 73.97 | 0 | 0 | 0 | 60 | 104.7 | 50 | 0 | 0 | 200.36 | 50 | 96.08 | 152 | 205.8 | 54 | 0 | 0 | 461.66 | 0 | 143.39 | 0 | 289.93 | 0 | 252.54 | 0
4 | Adjustment in oil quantity supplied by the oil company | KL
5 | oil supplied by oil company (3+4) | KL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 73.97 | 0 | 0 | 0 | 60 | 104.7 | 50 | 0 | 0 | 200.36 | 50 | 96.08 | 152 | 205.8 | 54 | 0 | 0 | 461.66 | 0 | 143.39 | 0 | 289.93 | 0 | 252.54 | 0
6 | Normative transit and handling loss | KL
7 | Net oil supplied | KL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 73.97 | 0 | 0 | 0 | 60 | 104.7 | 50 | 0 | 0 | 200.36 | 50 | 96.08 | 152 | 205.8 | 54 | 0 | 0 | 461.66 | 0 | 143.39 | 0 | 289.93 | 0 | 252.54 | 0
C | Price
8 | Amount charged by oil company | Rs.in Crs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38692 | 0 | 0.53244 | 0 | 0 | 0 | 0.43988 | 0.6364 | 0.3723 | 0 | 0 | 1.3288 | 0.39217 | 0.63142 | 1.1367 | 1.2086 | 0.39265 | 0 | 0 | 2.7811 | 0 | 0.86936 | 0 | 1.7382 | 0 | 1.5043 | 0
9 | Adjustment in amount charged by the oil company | Rs.in Crs
10 | Handling, sampling and such other similar charges | Rs.in Crs
11 | Total amount charged (8+9+10) | Rs.in Crs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38692 | 0 | 0.53244 | 0 | 0 | 0 | 0.43988 | 0.6364 | 0.3723 | 0 | 0 | 1.3288 | 0.39217 | 0.63142 | 1.1367 | 1.2086 | 0.39265 | 0 | 0 | 2.7811 | 0 | 0.86936 | 0 | 1.7382 | 0 | 1.5043 | 0
D | Transportation
12 | Transportation charges
| By rail | Rs.in Crs
| By road | Rs.in Crs
| By ship | Rs.in Crs
| … | Rs.in Crs
13 | Adjustment in amount charged by the oil transporter | Rs.in Crs
14 | Demurrage charges, if any | Rs.in Crs
15 | Cost of diesel in transporting oil through MGR system, if applicable | Rs.in Crs
16 | Total Transportation charges (12+13+14+15) | Rs.in Crs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Total amount charged for oil supplied including transportation (11+16) | Rs.in Crs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38692 | 0 | 0.53244 | 0 | 0 | 0 | 0.43988 | 0.6364 | 0.3723 | 0 | 0 | 1.3288 | 0.39217 | 0.63142 | 1.1367 | 1.2086 | 0.39265 | 0 | 0 | 2.7811 | 0 | 0.86936 | 0 | 1.7382 | 0 | 1.5043 | 0
E | Total Cost
18 | Landed cost of oil (2+17)/(1+7) | Rs./KL | 57988.5558 | 89783.5174 | 57988.5558 | 89783.5174 | 57988.5558 | 89783.5174 | 57988.5558 | 89783.5174 | 57988.5558 | 88330.2347 | 57988.5558 | 85813.66 | 57988.5558 | 85813.66 | 57988.5558 | 84152.6036 | 58116.4867 | 83109.3451 | 58116.4867 | 83109.3451 | 58832.4487 | 82615.7704 | 59125.5821 | 80539.1906 | 59091.8668 | 79852.6559 | 59091.8668 | 79852.6559 | 59307.932 | 79852.6559 | 59382.8954 | 79852.6559 | 59446.8097 | 79852.6559 | 59458.8017 | 79852.6559
19 | Blending Ratio (Domestic/Imported)
20 | Weighted average cost of oil for preceding three months | Rs./KL
F | Quality
21 | GCV of Domestic Oil of the opening Oil stock as per bill of Oil Company | kcal/litre
22 | GCV of Domestic Oil supplied as per bill of Oil Company | kcal/litre
23 | GCV of Imported Oil of the opening stock as per bill Oil Company | kcal/litre
24 | GCV of Imported Oil supplied as per bill Oil Company | kcal/litre
25 | Weighted average GCV of Oil as Billed | kcal/litre
26 | GCV of Domestic Oil of the opening stock as received at Station | kcal/litre
27 | GCV of Domestic Oil supplied as received at Station | kcal/litre
28 | GCV of Imported Oil of opening stock as received at Station | kcal/litre
29 | GCV of Imported Oil of opening stock as received at Station | kcal/litre
30 | Weighted average GCV of Oil as Received | kcal/litre | 9819
Note:
Particulars
1 | Oil Consumption | KL | 158 | 44 | 82 | 31 | 103 | 53 | 78 | 20 | 84 | 20 | 165 | 68 | 58 | 21 | 110 | 37 | 171 | 41 | 21 | 0 | 135 | 52 | 19 | 12 | 403 | 72 | 47 | 0 | 72 | 28 | 230 | 35 | 276 | 32 | 182 | 34
2 | Oil Consumption value | Rs.in Crs | 0.91622 | 0.39505 | 0.47551 | 0.27833 | 0.59728 | 0.47585 | 0.45231 | 0.17957 | 0.4871 | 0.17666 | 0.95681 | 0.58353 | 0.33633 | 0.18021 | 0.63787 | 0.31136 | 0.99379 | 0.34075 | 0.12204 | 0 | 0.79424 | 0.4296 | 0.11234 | 0.096647 | 2.3814 | 0.57494 | 0.27773 | 0 | 0.42702 | 0.22359 | 1.3658 | 0.27948 | 1.6407 | 0.25553 | 1.0822 | 0.2715
3 | Oil Consumption rate | Rs./KL | 64914.191 |  | 66711.0674 |  | 68790.6902 |  | 64477.3235 |  | 63823.494 |  | 66109.187 |  | 65385.1025 |  | 64574.0644 |  | 62950.0112 |  | 58116.4867 |  | 65445.9927 |  | 67414.7209 |  | 62238.7654 |  | 59091.8668 |  | 65060.4547 |  | 62086.4487 |  | 61566.8977 |  | 62668.9454

## F12
TGGENCO
BTPS
Form 12: Energy Charge Rate
Particulars | Legend | Units | FY 2024-25 |  |  | FY 2025-26 |  | FY 2026-27
|  |  | MYT/Tariff Order | Apr-Mar | True-Up requirement | MYT/ Tariff Order | Apr - Mar | MYT/ Tariff Order | n+1
|  |  | Approved | Audited | Claimed | Approved | Estimated | Approved | Projected
Auxiliary Consumption | AUX | % | 8.5 | 9.9652 | 9.9652 | 8.5 | 8.5 | 8.5 | 8.5
Gross Station Heat Rate | GSHR | kcal/kWh | 2318.4 | 2379.1888 | 2379.1888 | 2318.4 | 2318.4 | 2318.4 | 2318.4
Secondary Fuel oil consumption | SFC | ml/kWh | 0.5 | 0.29309 | 0.29309 | 0.5 | 0.5 | 0.5 | 0.5
Calorific Value of Secondary Fuel | CVSF | kcal/ml | 9819 | 9819 | 9819 | 9819 | 9819 | 9819 | 9819
Landed Price of Secondary Fuel | LPSF | Rs./ml | 0.06525 | 0.06525 | 0.06525 | 0.061544 | 0.061544 | 0.063536 | 0.063536
Gross Calorific Value of Coal | CVPF | kcal/kg | 3147.5808 | 3147.5808 | 3147.5808 | 3306.3662 | 3306.3662 | 3247.9992 | 3247.9992
Landed Price of Coal | LPPF | Rs./kg | 4.6949 | 4.6949 | 4.6949 | 4.9016 | 4.9016 | 4.6787 | 4.6787
Specific Coal Consumption |  | kg/kWh | 0.73501 | 0.75496 | 0.75496 | 0.69971 | 0.69971 | 0.69971 | 0.69971
Coal Rate |  | Rs./kWh | 3.7713 | 3.9368 | 3.9368 | 3.748 | 3.748 | 3.642 | 3.642
Oil Rate |  | Rs./kWh | 0.035656 | 0.021241 | 0.021241 | 0.034 | 0.034 | 0.035 | 0.035
ECR |  | Rs./kWh | 3.807 | 3.958 | 3.958 | 3.782 | 3.782 | 3.677 | 3.677

## F13
TGGENCO
BTPS
Form 13: Sales
FY 2024-25
Beneficiary | Actuals | [11 empty] | MU
| Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
TGSPDCL (70.55%) | 373.0705 | 398.7132 | 368.8533 | 275.914 | 248.0891 | 206.1894 | 229.866 | 154.0812 | 270.0231 | 294.1371 | 259.9415 | 308.5081 | 3387.3864
TGNPDCL (29.45%) | 155.7325 | 166.4366 | 153.9721 | 115.176 | 103.5609 | 86.0706 | 95.954 | 64.3188 | 112.7169 | 122.7829 | 108.5085 | 128.7819 | 1414.0118
Total | 528.803 | 565.1498 | 522.8254 | 391.09 | 351.65 | 292.26 | 325.82 | 218.4 | 382.74 | 416.92 | 368.45 | 437.29 | 4801.3982
FY 2025-26
| Actuals | [5 empty] | Estimated | [5 empty] | (MU)
Beneficiary | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
TGSPDCL (70.55%) | 315.5702 | 354.2809 | 337.2643 | 270.6157 | 313.8205 | 246.4523 | 453.861 | 439.2203 | 378.5642 | 453.861 | 409.939 | 453.861 | 4427.3104
TGNPDCL (29.45%) | 131.7298 | 147.8891 | 140.7857 | 112.9643 | 131.0012 | 102.8777 | 189.4572 | 183.3457 | 158.0258 | 189.4572 | 171.1226 | 189.4572 | 1848.1136
Total | 447.3 | 502.17 | 478.05 | 383.58 | 444.8217 | 349.33 | 643.3182 | 622.566 | 536.59 | 643.3182 | 581.0616 | 643.3182 | 6275.4239
FY 2026-27
Projected | (MU) Total: (MU)
Beneficiary | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
TGSPDCL (70.55%) | 439.2231 | 453.8623 | 390.2755 | 427.5048 | 453.8623 | 439.2231 | 453.8623 | 401.5706 | 416.2175 | 453.8623 | 409.9378 | 453.8623 | 5193.2638
TGNPDCL (29.45%) | 183.3469 | 189.4577 | 162.9145 | 178.4552 | 189.4577 | 183.3469 | 189.4577 | 167.6294 | 173.7432 | 189.4577 | 171.1222 | 189.4577 | 2167.8469
Total | 622.57 | 643.32 | 553.19 | 605.96 | 643.32 | 622.57 | 643.32 | 569.2 | 589.9607 | 643.32 | 581.06 | 643.32 | 7361.1107

## F15
TGGENCO
BTPS
FY 2024-25 | [6 empty] | Form 15: Revenue Reconciliation
Audited
S. No. | Particulars | Units | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
1 | Normative Availability (%) | % | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
2 | Availability during the month (%) | % | 78.35 | 81.65 | 79.61 | 59.34 | 54.82 | 46.72 | 54.07 | 43.65 | 65.02 | 63.54 | 58.52 | 68.67 | 62.86
3 | Cumulative Availability (%) | % | 78.35 | 80.03 | 79.89 | 74.67 | 70.65 | 66.72 | 64.89 | 62.28 | 62.59 | 62.68 | 62.34 | 62.87
4 | Target PLF for Incentive | % | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
5 | Actual PLF during the month (%) | % | 74.8783 | 77.4708 | 74.3377 | 54.2051 | 48.9231 | 42.409 | 45.6304 | 31.6856 | 52.945 | 57.3645 | 56.2187 | 60.2556
6 | Cumulative PLF (%) | % | 74.8783 | 76.1958 | 75.5832 | 70.1511 | 65.85 | 62.0072 | 59.6349 | 56.1985 | 55.8317 | 55.987 | 56.0064 | 56.3673
7 | Gross Generation (MU) | MU | 582.25 | 622.49 | 578.05 | 435.55 | 393.11 | 329.77 | 366.65 | 246.39 | 425.42 | 460.94 | 408.01 | 484.17 | 5332.8
8 | Auxiliary Consumption (MU) | MU | 53.45 | 57.34 | 55.22 | 44.46 | 41.46 | 37.51 | 40.83 | 27.99 | 42.69 | 44.02 | 39.57 | 46.88 | 531.42
9 | Net Generation (MU) | MU | 528.8 | 565.15 | 522.83 | 391.09 | 351.65 | 292.26 | 325.82 | 218.4 | 382.73 | 416.92 | 368.44 | 437.29 | 4801.38
10 | Generation above target PLF (MU) | MU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Variable Charges Per Unit | Rs./kWh | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34
12 | Approved Fixed Charges | Rs. Crore | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 1288.17
13 | Fuel Surcharge | Rs./kWh | 3.589 | TGYTG | 3.622 | 4.099 | 4.027 | 4.024 | 3.734 | 3.728 | 3.767 | 3.918 | 3.909 | 3.766
14 | Fixed Charges During Month | Rs. Crore | 98.9491 | 103.1925 | 100.5404 | 74.5244 | 68.9171 | 59.4453 | 68.0836 | 55.5807 | 82.1777 | 80.1823 | 74.436 | 86.6105 | 952.6396
15 | Energy Charges Amount | Rs. Crore | 124.9561 | 133.5449 | 123.5436 | 92.4145 | 83.0937 | 69.0615 | 76.9906 | 72.9443 | 127.8348 | 139.2503 | 123.0613 | 146.0532 | 1312.7488
16 | Amount of Fuel Surcharge Adjustment | Rs. Crore | 64.846 | 76.3321 | 65.8133 | 67.8899 | 58.5239 | 48.5432 | 44.6843 | 8.4707 | 16.3489 | 24.0991 | 20.9603 | 18.613 | 515.1247
17 | Incentive Amount | Units: Rs. Crore
18 | Revenue from sale of electricity | Rs. Crore | 288.7513 | 313.0695 | 289.8974 | 234.8289 | 210.5347 | 177.05 | 189.7585 | 136.9957 | 226.3614 | 243.5317 | 218.4576 | 251.2767 | 2780.5132
19 | Other recoveries/adjustments
- | Fuel (savings)/charge year end adjustment | Units: Rs. Crore; Total: 40.28
- | Fixed charges disallowed as per TGSLDC Availability | Units: Rs. Crore; Total: 4.04
- | Water charges | Units: Rs. Crore; Total: 1.38
- | Fixed charges reduced prorata to actual capitalisation in case of BTPS | Rs. Crore | 288.7513 | 313.0695 | 289.8974 | 234.8289 | 210.5347 | 177.05 | 189.7585 | 136.9957 | 226.3614 | 243.5317 | 218.4576 | 251.2767 | 2826.2132
20 | Total Revenue | Units: Rs. Crore
21 | Total Revenue as per Audited Accounts | Units: Rs. Crore
|  |  | 78.35 | 81.65 | 79.61 | 59.34 | 54.82 | 46.72 | 54.07 | 43.65 | 65.02 | 63.54 | 58.52 | 68.67 | 62.86
|  |  | 78.35 | 80.03 | 79.89 | 74.67 | 70.65 | 66.72 | 64.89 | 62.28 | 62.59 | 62.68 | 62.34 | 62.87
|  |  | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
|  |  | 74.8783 | 77.4708 | 74.3377 | 54.2051 | 48.9231 | 42.409 | 45.6304 | 31.6856 | 52.945 | 57.3645 | 56.2187 | 60.2556
|  |  | 74.8783 | 76.1958 | 75.5832 | 70.1511 | 65.85 | 62.0072 | 59.6349 | 56.1985 | 55.8317 | 55.987 | 56.0064 | 56.3673
|  |  | 582.25 | 622.49 | 578.05 | 435.55 | 393.11 | 329.77 | 366.65 | 246.39 | 425.42 | 460.94 | 408.01 | 484.17 | 5332.8
|  |  | 53.45 | 57.34 | 55.22 | 44.46 | 41.46 | 37.51 | 40.83 | 27.99 | 42.69 | 44.02 | 39.57 | 46.88 | 531.42
|  |  | 528.8 | 565.15 | 522.83 | 391.09 | 351.65 | 292.26 | 325.82 | 218.4 | 382.73 | 416.92 | 368.44 | 437.29 | 4801.38
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34
|  |  | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 107.3475 | 1288.17
|  |  | 3.589 | TGYTG | 3.622 | 4.099 | 4.027 | 4.024 | 3.734 | 3.728 | 3.767 | 3.918 | 3.909 | 3.766
|  |  | 98.9491 | 103.1925 | 100.5404 | 74.5244 | 68.9171 | 59.4453 | 68.0836 | 55.5807 | 82.1777 | 80.1823 | 74.436 | 86.6105 | 952.6396
|  |  | 124.9561 | 133.5449 | 123.5436 | 92.4145 | 83.0937 | 69.0615 | 76.9906 | 72.9443 | 127.8348 | 139.2503 | 123.0613 | 146.0532 | 1312.7488
|  |  | 64.846 | 76.3321 | 65.8133 | 67.8899 | 58.5239 | 48.5432 | 44.6843 | 8.4707 | 16.3489 | 24.0991 | 20.9603 | 18.613 | 515.1247
|  |  | 288.7513 | 313.0695 | 289.8974 | 234.8289 | 210.5347 | 177.05 | 189.7585 | 136.9957 | 226.3614 | 243.5317 | 218.4576 | 251.2767 | 2780.5132
40.28
4.04
1.38
|  |  | 288.7513 | 313.0695 | 289.8974 | 234.8289 | 210.5347 | 177.05 | 189.7585 | 136.9957 | 226.3614 | 243.5317 | 218.4576 | 251.2767 | 2826.2132
|  |  | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85 | -85
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 78.35 | 81.65 | 79.61 | 59.34 | 54.82 | 46.72 | 54.07 | 43.65 | 65.02 | 63.54 | 58.52 | 68.67 | 62.86
|  |  | 78.35 | 80.03 | 79.89 | 74.67 | 70.65 | 66.72 | 64.89 | 62.28 | 62.59 | 62.68 | 62.34 | 62.87 | 0