## DTR Failure
|  | April'20-June'20 |  |  |  |  | July'20-September'20 |  |  |  |  | October'20-December'20 |  |  |  |  | January'21-March'21
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 5 | 9166 | 9171 | 8660 | 6 | 6 | 12776 | 12782 | 12145 | 6 | 6 | 10379 | 10385 | 9905 | 2 | 2 | 7996 | 7998 | 7801 | 1
|  | April'21-June'21 |  |  |  |  | July'21-September'21 |  |  |  |  | October'21-December'21 |  |  |  |  | January'22-March'22
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 5 | 9166 | 9171 | 8660 | 6 | 6 | 12776 | 12782 | 12145 | 6 | 6 | 10379 | 10385 | 9905 | 2 | 2 | 7996 | 7998 | 7801 | 1
|  | Q1 (April'22-June'22) |  |  |  |  | Q2 (july'22-sep'22) |  |  |  |  | Q3 (Oct'22-Dec'22) |  |  |  |  | Q4 (Jan'23-Mar'23)
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
Distribution Transformer failure | At least 95% of DTRs to be replaced within prescribed time limits in both Cities and Towns and in Rural areas | 4 | 8687 | 8691 | 7725 | 0 | 0 | 9141 | 9141 | 9141 | 0 | 22 | 9049 | 9071 | 9050 | 21 | 21 | 8077 | 8098 | 8098 | 0

## Reliability indices
The proforma for submission of quarterly report on reliability indices shall be as follows:
2020-21 | [6 empty] | 2021-22 | [6 empty] | 2021-22
S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ai= Total number of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ai*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIFI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ai= Total number of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ai*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIFI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ai= Total number of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ai*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIFI = (2)/(1)
1 | Q1 (2020-21) | 4638508.53 | 41751 | 9549122 | 39154328 | 4.1003 | 1 | Q1 (2021-22) | 4638508.53 | 41751 | 9549122 | 39154328 | 4.1003 | 1 | Q1(2022-23) | 6699090 | 43785 | 9673728 | 83959652 | 8.68
2 | Q2 (2020-21) | 4752824.79 | 46941 | 9653640 | 44348600 | 4.594 | 2 | Q2 (2021-22) | 4752824.79 | 46941 | 9653640 | 44348600 | 4.594 | 1 | Q2(2022-23) | 6631146 | 45117 | 9741069 | 89241860 | 9.16
3 | Q3 (2020-21) | 4753094.49 | 40119 | 9763466 | 37679939 | 3.8593 | 3 | Q3 (2021-22) | 4753094.49 | 40119 | 9763466 | 37679939 | 3.8593 | 2 | Q3(2022-23) | 6989256 | 37905 | 9806478 | 68025345 | 6.94
4 | Q4 (2020-21) | 4803711.09 | 35795 | 9896407 | 33970831 | 3.4326 | 4 | Q4 (2021-22) | 4803711.09 | 35795 | 9896407 | 33970831 | 3.4326 | 4 | Q4 (2022-23) | 6507405 | 27821 | 9964194 | 56371139 | 5.66
S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Bi= Total duration of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑Bi*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIDI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Bi= Total duration of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑Bi*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIDI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Bi= Total duration of sustained interruptions (each longer than 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑Bi*Ni) for all 11 kV feeders excluding agriculture feeders (2) | SAIDI = (2)/(1)
1 | Q1 (2020-21) | 4638508.53 | 850519 | 9549122 | 713168909 | 74.6842 | 1 | Q1 (2021-22) | 4638508.53 | 850519 | 9549122 | 713168909 | 74.6842 | 1 | Q1(2022-23) | 6699090 | 1551826 | 9673728 | 238436515 | 246.48
2 | Q2 (2020-21) | 4752824.79 | 867113 | 9653640 | 755409571 | 78.2513 | 2 | Q2 (2021-22) | 4752824.79 | 867113 | 9653640 | 755409571 | 78.2513 | 1 | Q2(2022-23) | 6631146 | 1251196 | 9741069 | 2133792650 | 219.05
3 | Q3 (2020-21) | 4753094.49 | 884075 | 9763466 | 691591506 | 70.8346 | 3 | Q3 (2021-22) | 4753094.49 | 884075 | 9763466 | 691591506 | 70.8346 | 2 | Q3(2022-23) | 6989256 | 1061612.4 | 9806478 | 1542239029 | 157.27
4 | Q4 (2020-21) | 4803711.09 | 673624 | 9896407 | 562198501 | 56.8083 | 4 | Q4 (2021-22) | 4803711.09 | 673624 | 9896407 | 562198501 | 56.8083 | 4 | Q4 (2022-23) | 6507405 | 717225.03 | 9964194 | 1272630127 | 127.72
S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ci= Total number of momentary interruptions (each less than or equal to 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ci*Ni) for all 11 kV feeders excluding agriculture feeders (2) | MAIFI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ci= Total number of momentary interruptions (each less than or equal to 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ci*Ni) for all 11 kV feeders excluding agriculture feeders (2) | MAIFI = (2)/(1) | S.No. | Quarter | Ni=Connected load of ith feeder affected for each interruption | Ci= Total number of momentary interruptions (each less than or equal to 5 minutes) on ith feeder for the quarter | Nt= Total Connected load at 11kV in licensees area of supply (1) | =∑(Ci*Ni) for all 11 kV feeders excluding agriculture feeders (2) | MAIFI = (2)/(1)
1 | Q1 (2020-21) | 2408309 | 15515 | 9476982 | 37364914135 | 3942.7018 | 1 | Q1 (2021-22) | 2408309 | 15515 | 9476982 | 37364914135 | 3942.7018 | 1 | Q1(2022-23) | 6699090 | 17299 | 9673728 | 35792793.6 | 3.7
2 | Q2 (2020-21) | 2435893 | 16899 | 9587511 | 41164155807 | 4293.5185 | 2 | Q2 (2021-22) | 2435893 | 16899 | 9587511 | 41164155807 | 4293.5185 | 1 | Q2(2022-23) | 6631146 | 15689 | 9741069 | 34678205 | 3.56
3 | Q3 (2020-21) | 2464170 | 14443 | 9699757 | 35590007310 | 3669.1648 | 3 | Q3 (2021-22) | 2464170 | 14443 | 9699757 | 35590007310 | 3669.1648 | 2 | Q3(2022-23) | 6989256 | 12964 | 9806478 | 25104583.68 | 2.56
4 | Q4 (2020-21) | 2498737 | 12767 | 9834880 | 31901375279 | 3243.6975 | 4 | Q4 (2021-22) | 2498737 | 12767 | 9834880 | 31901375279 | 3243.6975 | 4 | Q4 (2022-23) | 6507405 | 11976 | 9964194 | 24611559 | 2.47

## Billing Mistakes
|  | April'20-June'20 |  |  |  |  | July'20-September'20 |  |  |  |  | October'20-December'20 |  |  |  |  | January'21-March'21
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
% billing mistakes | Not Exceeding 0.1% | 18 | 9907 | 9925 | 9657 | 268 | 268 | 2992 | 3260 | 3199 | 61 | 61 | 1076 | 1137 | 1112 | 25 | 25 | 442 | 371 | 71 | 71
|  | April'21-June'21 |  |  |  |  | July'21-September'21 |  |  |  |  | October'21-December'21 |  |  |  |  | January'22-March'22
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
% billing mistakes | Not Exceeding 0.1% | 18 | 9907 | 9925 | 9657 | 268 | 268 | 2992 | 3260 | 3199 | 61 | 61 | 1076 | 1137 | 1112 | 25 | 25 | 442 | 371 | 71 | 71
|  | Q1 (April'22-June'22) |  |  |  |  | Q2 (july'22-sep'22) |  |  |  |  | Q3 (Oct'22-Dec'22) |  |  |  |  | Q4 (Jan'23-Mar'23)
Service Area | Overall standards of performance | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints |  |  |  |  | No Of Complaints
|  | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter | Pending at the start of the quarter | filed by the consumers in this quarter (B) | Total C= (A+B) | Redressed within the stipulated time for overall standards | Pending at the end of the quarter
% billing mistakes | Not Exceeding 0.1% | 304 | 1313 | 1617 | 1193 | 393 | 285 | 1243 | 1528 | 1309 | 219 | 219 | 853 | 1072 | 916 | 156 | 199 | 1902 | 2101 | 2080 | 21

## Faulty Meters
2020-21
Quarter | No. of Faulty meters at the start of the quarter | No. of Faulty meters added during the quarter | Total no. of Faulty meters | No. of meters rectified/replaced | No. of Faulty meters pending at the end of the quarter
April'20-June'20 | 52954 | 83790 | 136744 | 81222 | 55522
July'20-September'20 | 55522 | 98789 | 154311 | 95212 | 59099
October'20-December'20 | 59099 | 110210 | 169309 | 111061 | 58248
January'21-March'21 | 58248 | 87618 | 145866 | 92721 | 53145
2021-22
Quarter | No. of Faulty meters at the start of the quarter | No. of Faulty meters added during the quarter | Total no. of Faulty meters | No. of meters rectified/replaced | No. of Faulty meters pending at the end of the quarter
April'21-June'21 | 52954 | 83790 | 136744 | 81222 | 55522
July'21-September'21 | 55522 | 98789 | 154311 | 95212 | 59099
October'21-December'21 | 59099 | 110210 | 169309 | 111061 | 58248
January'22-March'22 | 58248 | 87618 | 145866 | 92721 | 53145
2022-23
Quarter | No. of Faulty meters at the start of the quarter | No. of Faulty meters added during the quarter | Total no. of Faulty meters | No. of meters rectified/replaced | No. of Faulty meters pending at the end of the quarter
April'22-June'22 | 18075 | 65513 | 83588 | 70075 | 13513
July'22-September'22 | 14755 | 73744 | 88499 | 69553 | 18946
October'22-December'22 | 20935 | 134938 | 155873 | 103698 | 52175
Jan'22-March'23 | 26224 | 90662 | 116886 | 79425 | 37461