## ERC Financial Analysis
Total Project Cost (Sanctioned) | 78147000 | ₹781.47 Lakhs (7.81 Cr) |  | Year | TL1-AIF Annual (₹L) | TL2-PM Kusum Annual (₹L) | Total Interest | Total EMI (₹/year) |  |  |  | Category | Assumption Details | Cost per month | 18.7452 | 1874520 | 1874520
|  |  |  | 1 | 328000 | 704000 | 1874520 | 2906520 |  |  |  | Salaries | ₹30000 to Engineer on site ₹15000 x 2 security gaurds (rotation) 10000 x 2 Cleaning panels and grass | ₹80000 per month and increment of 5% (VDA) every year as standard ₹9.6 lakh/year | 54.3762 | 5437620 | 5437620
Total Loan Sanctioned (TL1+TL2) | 63000000 | ₹630 Lakhs (6.30 Cr) |  | 2 | 984000 | 2116000 | 5437620 | 8537620 |  |  |  | O&M Charges | EPC - operational and maintainance | ₹6 lakh/year escalation of 5% eavery year | 51.3823 | 5138235 | 5138235
Promoter Margin (19.38%) | 15147000 | ₹151.47 Lakhs (1.51 Cr) |  | 3 | 1128000 | 2425000 | 5138235 | 8691235 |  |  |  | Insurance | General solar plant insurance | ₹3 lakh/year | 48.0316 | 4803165 | 4803165
Total Loan Tenure | 15 years (180 months) |  |  | 4 | 1236000 | 2657000 | 4803165 | 8696165 |  |  |  | Personal Insurance mandated by bank for loan protetcion | ₹5 L each year for 2 crore life insurance for 10 years | ₹5 Lakh/ Year | 44.4087 | 4440870 | 4440870
Interest Rate (Both Loans) | 8.65% (MCLR 8.40%+0.25%) ¦ resets every 3 months |  |  | 5 | 1320000 | 2838000 | 4440870 | 8598870 |  |  |  | Miscellenous charges | ₹15000 per month | ₹1.8 Lakh/Year | 40.6323 | 4063230 | 4063230
TL1-AIF ₹200L | 8.65% ¦ 3% subvention Yr1-7 → net ~5.65% ¦ ₹6L/yr income credit |  |  | 6 | 1344000 | 2890000 | 4063230 | 8297230 |  |  |  | Regular Spares / Minor Repairs | Control boards, breakers, SCADA, consumables | ₹2 lakh/year | 36.6516 | 3665160 | 3665160
TL2-PM Kusum ₹430L | 8.65% full rate all 15 years |  |  | 7 | 1464000 | 3148000 | 3665160 | 8277160 |  |  |  | Major Replacement (Year 15) | Inverter replacement ₹20 lakh + Transformer critical parts ₹30 lakh | One-time replacement at Year 15 - ₹50 lakhs Since making a 50 lakh investment at a time is hard, this amount will be collected from FD done to the bank at the beggining - Not included in calculations | 32.382 | 3238200 | 3238200
Moratorium Period | 9 months from 1st disbursement (interest only, IDC funded by bank) |  |  | 8 | 1548000 | 3328000 | 3238200 | 8114200 | [6 empty] | 27.8406 | 2784060 | 2784060
|  |  |  | 9 | 1656000 | 3560000 | 2784060 | 8000060 | [6 empty] | 23.0269 | 2302695 | 2302695
|  |  |  | 10 | 1740000 | 3741000 | 2302695 | 7783695 | [6 empty] | 18.2471 | 1824705 | 1824705
|  |  |  | 11 | 1632000 | 3509000 | 1824705 | 6965705 | [6 empty] | 13.6715 | 1367145 | 1367145
|  |  |  | 12 | 1596000 | 3431000 | 1367145 | 6394145 | [6 empty] | 9.3339 | 933390 | 933390
|  |  |  | 13 | 1464000 | 3148000 | 933390 | 5545390 | [6 empty] | 5.1831 | 518310 | 518310
|  |  |  | 14 | 1464000 | 3148000 | 518310 | 5130310 | [6 empty] | 1.3522 | 135225 | 135798.75
|  |  |  | 15 | 1192000 | 2414000 | 135798.75 | 3741798.75 | [6 empty] | 0.0057375 | 573.75
[7 empty] | Total repayment during repayment ₹10.5 cr | 105680103.8
Year | Salaries with 5% mandetory hike from inflation (VDA) each year | O&M Cost with 5% escalation each year | Solar power plant Insurance per year | Mandetory personal insurance for loan protection from bank | Minor spares and Miscelinous with 3% increment each year | Total Loan EMI (₹/year) from table above | Total Expenditure per year | 3% interest subvention for 7 years under AIF refunded each year treated as income | CUF calculated from assumption clause given in note 2 | No.of Units generated per year based on respective CUF =2MW*CUF%*8760 | Gross Income per year @ 3.13 Rupees per KWh/Unit | Net income after all expenses with tarrif 3.13 Rupees per KWh/unit | Gross Income per year @ 2.98 Rupees per KWh/Unit | Net income after all expenses with tarrif 2.98 Rupees per KWh/unit
1 | 960000 | 600000 | 300000 | 500000 | 380000 | 2906520 | 5646520 | 198000 | 20.18% | 1178512 | 3688742.56 | -1759777.44 | 3511965.76 | -1936554.24
2 | 1008000 | 630000 | 300000 | 500000 | 391400 | 8537620 | 11367020 | 575000 | 19.78% | 3465456 | 10846877.28 | 54857.28 | 10327058.88 | -464961.12
3 | 1058400 | 661500 | 300000 | 500000 | 403142 | 8691235 | 11614277 | 544000 | 19.68% | 3447936 | 10792039.68 | -278237.32 | 10274849.28 | -795427.72
4 | 1111320 | 694575 | 300000 | 500000 | 415236.26 | 8696165 | 11717296.26 | 508000 | 19.58% | 3430416 | 10737202.08 | -472094.18 | 10222639.68 | -986656.58
5 | 1166886 | 729303.75 | 300000 | 500000 | 427693.3478 | 8598870 | 11722753.1 | 470000 | 19.48% | 3412896 | 10682364.48 | -570388.6178 | 10170430.08 | -1082323.018
6 | 1225230.3 | 765768.9375 | 300000 | 500000 | 440524.1482 | 8297230 | 11528753.39 | 430000 | 19.38% | 3395376 | 10627526.88 | -471226.5057 | 10118220.48 | -980532.9057
7 | 1286491.815 | 804057.3844 | 300000 | 500000 | 453739.8727 | 8277160 | 11621449.07 | 388000 | 19.29% | 3379608 | 10578173.04 | -655276.0321 | 10071231.84 | -1162217.232
8 | 1350816.406 | 844260.2536 | 300000 | 500000 | 467352.0689 | 8114200 | 11576628.73 | 0 | 19.19% | 3362088 | 10523335.44 | -1053293.288 | 10019022.24 | -1557606.488
9 | 1418357.226 | 886473.2663 | 300000 | 500000 | 481372.6309 | 8000060 | 11586263.12 | 0 | 19.1% | 3346320 | 10473981.6 | -1112281.523 | 9972033.6 | -1614229.523
10 | 1489275.087 | 930796.9296 | 300000 | 500000 | 495813.8099 | 7783695 | 11499580.83 | 0 | 19% | 3328800 | 10419144 | -1080436.827 | 9919824 | -1579756.827
11 | 1563738.842 | 977336.7761 | 300000 | 0 | 510688.2242 | 6965705 | 10317468.84 | 0 | 18.9% | 3311280 | 10364306.4 | 46837.5581 | 9867614.4 | -449854.4419
12 | 1641925.784 | 1026203.615 | 300000 | 0 | 526008.8709 | 6394145 | 9888283.27 | 0 | 18.81% | 3295512 | 10314952.56 | 426669.2905 | 9820625.76 | -67657.5095
13 | 1724022.073 | 1077513.796 | 300000 | 0 | 541789.137 | 5545390 | 9188715.006 | 0 | 18.71% | 3277992 | 10260114.96 | 1071399.954 | 9768416.16 | 579701.1544
14 | 1810223.177 | 1131389.485 | 300000 | 0 | 558042.8111 | 5130310 | 8929965.473 | 0 | 18.62% | 3262224 | 10210761.12 | 1280795.647 | 9721427.52 | 791462.0469
15 | 1900734.335 | 1187958.96 | 300000 | 0 | 574784.0954 | 3741798.75 | 7705276.141 | 0 | 18.52% | 3244704 | 10155923.52 | 2450647.379 | 9669217.92 | 1963941.779
16 | 1995771.052 | 1247356.908 | 300000 | 0 | 592027.6183 | 0 | 4135155.578 | 0 | 18.43% | 3228936 | 10106569.68 | 5971414.102 | 9622229.28 | 5487073.702
17 | 2095559.605 | 1309724.753 | 300000 | 0 | 609788.4469 | 0 | 4315072.805 | 0 | 18.34% | 3213168 | 10057215.84 | 5742143.035 | 9575240.64 | 5260167.835
18 | 2200337.585 | 1375210.991 | 300000 | 0 | 628082.1003 | 0 | 4503630.676 | 0 | 18.25% | 3197400 | 10007862 | 5504231.324 | 9528252 | 5024621.324
19 | 2310354.464 | 1443971.54 | 300000 | 0 | 646924.5633 | 0 | 4701250.568 | 0 | 18.16% | 3181632 | 9958508.16 | 5257257.592 | 9481263.36 | 4780012.792
20 | 2425872.188 | 1516170.117 | 300000 | 0 | 666332.3002 | 0 | 4908374.605 | 0 | 18.07% | 3165864 | 9909154.32 | 5000779.715 | 9434274.72 | 4525900.115
21 | 2547165.797 | 1591978.623 | 300000 | 0 | 686322.2692 | 0 | 5125466.689 | 0 | 17.98% | 3150096 | 9859800.48 | 4734333.791 | 9387286.08 | 4261819.391
22 | 2674524.087 | 1671577.554 | 300000 | 0 | 706911.9372 | 0 | 5353013.578 | 0 | 17.89% | 3134328 | 9810446.64 | 4457433.062 | 9340297.44 | 3987283.862
23 | 2808250.291 | 1755156.432 | 300000 | 0 | 728119.2954 | 0 | 5591526.018 | 0 | 17.8% | 3118560 | 9761092.8 | 4169566.782 | 9293308.8 | 3701782.782
24 | 2948662.806 | 1842914.254 | 300000 | 0 | 749962.8742 | 0 | 5841539.933 | 0 | 17.71% | 3102792 | 9711738.96 | 3870199.027 | 9246320.16 | 3404780.227
25 | 3096095.946 | 1935059.966 | 300000 | 0 | 772461.7605 | 0 | 6103617.673 | 0 | 17.62% | 3087024 | 9662385.12 | 3558767.447 | 9199331.52 | 3095713.847
[12 empty] | 46144321.25 |  | 34186483.25
[11 empty] | Total net profit for SPG in 25 years with 1.5 crores put from his pocket | 4.6 crores |  | 3.4 crores
Note - 1: At year 15; Major investment of 50 lakhs is needed for replacement of inverters and Transformer if they fail past thier warrenty; This is funded by the 50 Lakh FD that is being created by Bank for safety of loan from SPG's money
Note - 2 : on Design CUF and Year-1 Projections for Excel Modeling
1. Reference Clause (PPA Clause 4.3.2):
"The solar power generator shall ensure during the first 10 years of COD minimum declared CUF of 19% of the project with maximum allowable excess generation of +10% Energy over minimum declared CUF of 19% and while from 11th year, the SPG will be allowed to generate ± 10% for declared CUF of 19% for the remaining period of the agreement."
2. Key Modeling Parameters & Assumptions:
Minimum PPA Floor (Years 1–10): 19.00% CUF
Maximum Permissible Ceiling (Years 1–10): 20.90% CUF (19% + 10% excess)
Year 1 Degradation Penalty: 2.0%
Subsequent Annual Degradation: 0.5% per year (Years 2 to 10)
3. Conclusion & Recommendation:
To strictly ensure the plant does not fall below the 19.00% minimum contractual floor by Year 10, the system must be designed to achieve a Target Year 1 CUF of 20.18%. This value sits safely within the maximum PPA limit of 20.90%, optimizing initial revenue while protecting against long-term under-generation penalties.

## Copy of EMI Schedule @9%
PNB LOAN — DETAILED EMI SCHEDULE @ 9% (max-ceiling rate) ¦ Nalla Ajay ¦ 2 MW PM-KUSUM Solar
TL1(AIF)=Rs200L TL2(Kusum)=Rs430L ¦ Method: avg-balance, Yr1 prorated 4 mo (UNCHANGED from your file) ¦ Ref: PNB Sanction KUS02
Interest rate (edit here) |  | 9%
FY | # Inst | TL1 Opening (L) | TL2 Opening (L) | TL1 Principal (L) | TL2 Principal (L) | Total Principal (L) | TL1 Interest (L) | TL2 Interest (L) | Total Interest (L) | Total Annual Outgo (L) | Monthly Principal (Rs) | Monthly Interest (Rs) | Gross Monthly EMI (Rs) | AIF Subvention (Rs/mo) | Net Monthly EMI (Rs) | TL1 Closing (L) | TL2 Closing (L)
2026-27 (partial) | 4 | 200 | 430 | 3.28 | 7.04 | 10.32 | 5.9508 | 12.7944 | 18.7452 | 29.0652 | 258000 | 468630 | 726630 | 45500 | 681130 | 196.72 | 422.96
2027-28 (Op.Yr 1) | 12 | 196.72 | 422.96 | 9.84 | 21.16 | 31 | 17.262 | 37.1142 | 54.3762 | 85.3762 | 258333.3333 | 453135 | 711468.3333 | 45500 | 665968.3333 | 186.88 | 401.8
2028-29 (Op.Yr 2) | 12 | 186.88 | 401.8 | 11.28 | 24.25 | 35.53 | 16.3116 | 35.0707 | 51.3824 | 86.9124 | 296083.3333 | 428186.25 | 724269.5833 | 45500 | 678769.5833 | 175.6 | 377.55
2029-30 (Op.Yr 3) | 12 | 175.6 | 377.55 | 12.36 | 26.57 | 38.93 | 15.2478 | 32.7839 | 48.0316 | 86.9617 | 324416.6667 | 400263.75 | 724680.4167 | 45500 | 679180.4167 | 163.24 | 350.98
2030-31 (Op.Yr 4) | 12 | 163.24 | 350.98 | 13.2 | 28.38 | 41.58 | 14.0976 | 30.3111 | 44.4087 | 85.9887 | 346500 | 370072.5 | 716572.5 | 45500 | 671072.5 | 150.04 | 322.6
2031-32 (Op.Yr 5) | 12 | 150.04 | 322.6 | 13.44 | 28.9 | 42.34 | 12.8988 | 27.7335 | 40.6323 | 82.9723 | 352833.3333 | 338602.5 | 691435.8333 | 35000 | 656435.8333 | 136.6 | 293.7
2032-33 (Op.Yr 6) | 12 | 136.6 | 293.7 | 14.64 | 31.48 | 46.12 | 11.6352 | 25.0164 | 36.6516 | 82.7716 | 384333.3333 | 305430 | 689763.3333 | 35000 | 654763.3333 | 121.96 | 262.22
2033-34 (Op.Yr 7) | 12 | 121.96 | 262.22 | 15.48 | 33.28 | 48.76 | 10.2798 | 22.1022 | 32.382 | 81.142 | 406333.3333 | 269850 | 676183.3333 | 30000 | 646183.3333 | 106.48 | 228.94
2034-35 (Op.Yr 8) | 12 | 106.48 | 228.94 | 16.56 | 35.6 | 52.16 | 8.838 | 19.0026 | 27.8406 | 80.0006 | 434666.6667 | 232005 | 666671.6667 | 0 | 666671.6667 | 89.92 | 193.34
2035-36 (Op.Yr 9) | 12 | 89.92 | 193.34 | 17.4 | 37.41 | 54.81 | 7.3098 | 15.7172 | 23.0269 | 77.837 | 456750 | 191891.25 | 648641.25 | 0 | 648641.25 | 72.52 | 155.93
2036-37 (Op.Yr10) | 12 | 72.52 | 155.93 | 16.32 | 35.09 | 51.41 | 5.7924 | 12.4547 | 18.2471 | 69.657 | 428416.6667 | 152058.75 | 580475.4167 | 0 | 580475.4167 | 56.2 | 120.84
2037-38 (Op.Yr11) | 12 | 56.2 | 120.84 | 15.96 | 34.31 | 50.27 | 4.3398 | 9.3316 | 13.6715 | 63.9415 | 418916.6667 | 113928.75 | 532845.4167 | 0 | 532845.4167 | 40.24 | 86.53
2038-39 (Op.Yr12) | 12 | 40.24 | 86.53 | 14.64 | 31.48 | 46.12 | 2.9628 | 6.3711 | 9.3339 | 55.4539 | 384333.3333 | 77782.5 | 462115.8333 | 0 | 462115.8333 | 25.6 | 55.05
2039-40 (Op.Yr13) | 12 | 25.6 | 55.05 | 14.64 | 31.48 | 46.12 | 1.6452 | 3.5379 | 5.1831 | 51.3031 | 384333.3333 | 43192.5 | 427525.8333 | 0 | 427525.8333 | 10.96 | 23.57
2040-41 (Op.Yr14) | 10 | 10.96 | 23.57 | 10 | 23 | 33 | 0.447 | 0.90525 | 1.3522 | 34.3522 | 330000 | 13522.5 | 343522.5 | 0 | 343522.5 | 0.96 | 0.57
2040-41 (final) | 1 | 0.96 | 0.57 | 0.96 | 0.57 | 1.53 | 0.0036 | 0.0021375 | 0.0057375 | 1.5357 | 153000 | 573.75 | 153573.75 | 0 | 153573.75 | 0 | 0
TOTAL |  |  |  | 200 | 430 | 630 | 135.0222 | 290.2488 | 425.271 | 1055.271 |  |  |  | 327500
NOTES
1. Interest = (Opening - Principal/2) x rate x (#inst/12). Average-balance method, UNCHANGED from your uploaded file.
2. Principal is from the PNB sanction repayment table. Year 1 interest covers only 4 post-moratorium months.